## survey
type | name | label | media::image | appearance | required | relevant | choice_filter | calculation | $given_name
start | start
end | end
today | today
deviceid | deviceid
note | WASH_Grading_of_Health_care_facility_and_NRC |  | form_logo.png
begin_group | date_group | Date |  | field-list
datetime | system_date | Date of Visit |  | no-calendar
select_one yes_no | system_date_check | Is this date and time correct? |  |  | true
end_group | date_group
datetime | manual_date | Record the correct date and time. |  | no-calendar | true | (${system_date_check}='1')
select_one level1_list | level1 | District |  |  | true
select_one level2_list | level2 | Block |  |  | true |  | filter_list=${level1}
select_one level3_list | level3 | Facility Name |  |  | true |  | filter_list=${level2}
geopoint | gps | GPS Location :(Collect GPS coordinates and record location when the accuracy is smaller than 5 m.)
note | General_Section |  | logo2.png
begin_group | Water_supply_General | Water supply |  | field-list
select_one yes_no | Improved_water_supply_source | 1.Improved water supply source (piped/bore hole/protected well) not available. |  |  | true
select_one yes_no | Insufficient_water_supply | 2. Insufficient water supply (Low pressure / less quantity/ Irregular/ seasonal/Inadequate storage). |  |  | true
select_one yes_no | Supply_line_passing_through_drains | 3. Supply line passing through drains/ sewers/ unsanitary conditions/ or bore hole near unsanitary conditions, leakage pipeline |  |  | true
end_group
begin_group | Water_Quality | Water Quality |  | field-list
select_one yes_no | Irregular_water_testing | 1. Irregular water testing (bacteriological testing not conducted on quaterly basis) |  |  | true
select_one yes_no | H2S_strip_test_positive | 2. H2S strip test positive within 36 to 48 hours (collect sample and report) |  |  | true
select_one yes_no | Chlorinition_not_done | 3. Chlorinition is not done by ensuring residual free chlorine of ≥0.2 Part per Million (PPM)/Litre regularly (Only if treatd water is not available). |  |  | true
end_group
begin_group | Water_Storage | Water Storage |  | field-list
select_one yes_no | water_storage_tank_not_available | 1. Water storage tank not available (Overhead/under ground) |  |  | true
select_one yes_no | water_tank_inadequately_sealed | 2. Water tank Inadequately sealed /covered / leaking? |  |  | true
select_one yes_no | poor_cleaning_schedule | 3. Poor cleaning schedule? (Cleaning frequency is less than twice a year) |  |  | true
select_one yes_no | records_tank_cleaning_not_avaialble | 4.previous Records and date of cleaning with respect to tank cleaning is not avaialble in the health facility. |  |  | true
end_group
begin_group | Drinking_water_treatment | Drinking water treatment |  | field-list
select_one yes_no | drinking_water_treatment_at_point_of_use | 1. Treatment not available at point of use / non functional treatment unit |  |  | true
select_one yes_no | unsanitary_condition | 2. Unsanitary condition /Poor cleaning system? |  |  | true
select_one yes_no | maintainance_treatment_unit_not_done | 3. Annual Manitenance Contract (AMC) of the Treatment Unit is not done in the health facility |  |  | true
end_group
calculate | water_no | [6 empty] | ${Improved_water_supply_source}+${Insufficient_water_supply}+${Supply_line_passing_through_drains}+${Irregular_water_testing}+${H2S_strip_test_positive}+${water_storage_tank_not_available}+${water_tank_inadequately_sealed}+${poor_cleaning_schedule}+${records_tank_cleaning_not_avaialble}+${drinking_water_treatment_at_point_of_use}+${unsanitary_condition}+${maintainance_treatment_unit_not_done}+${Chlorinition_not_done}
calculate | water_per | [6 empty] | round(${water_no}*100 div 13,1)
note | water_per1 | Sub total of Water Section is ${water_per} % and It's rating is | 1.png |  |  | ${water_per}<=40
note | water_per2 | Sub total of Water Section is ${water_per} % and It's rating is | 2.png |  |  | ${water_per}>40 and ${water_per}<=60
note | water_per3 | Sub total of Water Section is ${water_per} % and It's rating is | 3.png |  |  | ${water_per}>60 and ${water_per}<=75
note | water_per4 | Sub total of Water Section is ${water_per} % and It's rating is | 4.png |  |  | ${water_per}>75 and ${water_per}<=90
note | water_per5 | Sub total of Water Section is ${water_per} % and It's rating is | 5.png |  |  | ${water_per}>90
note | Toilet_facilities_excreta_disposal_and_O_M |  | logo3.png
begin_group | toilet_facility_1 | Toilet facility |  | field-list
select_one yes_no | Excreta_disposal | 1. Excreta disposal system (Pipes/chambers/septic tanks) non functional/ blocked/ overflowing / Broken |  |  | true
select_one yes_no | Unsafe_disposal_of_excreta | 2. Unsafe disposal of excreta by untrained staffs |  |  | true
end_group
begin_group | toilet_cleaning_and_oandm | Toilet cleaning and O&M |  | field-list
select_one yes_no | Trained_sanitation_worker_not_available | 1. Trained sanitation worker is not available for toilet cleaning |  |  | true
select_one yes_no | Poor_routine_cleaning_schedule | 2. Poor routine cleaning schedule (at least thrice a day not done) |  |  | true
select_one yes_no | separate_mops_and_accessories_for_cleaning_toilet | 3. Separate mops and other accessories are not available for cleaning of toilet in each department |  |  | true
end_group
calculate | Toilet_no | [6 empty] | ${Excreta_disposal}+${Unsafe_disposal_of_excreta}+${Trained_sanitation_worker_not_available}+${Poor_routine_cleaning_schedule}+${separate_mops_and_accessories_for_cleaning_toilet}
calculate | Toilet_per | [6 empty] | round(${Toilet_no}*100 div 5,1)
note | Toilet_per1 | Sub total of Toilet Facility Section is ${Toilet_per} % and It's rating is | 1.png |  |  | ${Toilet_per}<=40
note | Toilet_per2 | Sub total of Toilet Facility Section is ${Toilet_per} % and It's rating is | 2.png |  |  | ${Toilet_per}>40 and ${Toilet_per}<=60
note | Toilet_per3 | Sub total of Toilet Facility Section is ${Toilet_per} % and It's rating is | 3.png |  |  | ${Toilet_per}>60 and ${Toilet_per}<=75
note | Toilet_per4 | Sub total of Toilet Facility Section is ${Toilet_per} % and It's rating is | 4.png |  |  | ${Toilet_per}>75 and ${Toilet_per}<=90
note | Toilet_per5 | Sub total of Toilet Facility Section is ${Toilet_per} % and It's rating is | 5.png |  |  | ${Toilet_per}>90
note | Overall_cleaning_infection_prevention_control |  | logo4.png
begin_group | Infection_preventation_control_1 | Infection preventation control |  | field-list
select_one yes_no | Floors_or_surfaces_visibly_dirty | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids |  |  | true
select_one yes_no | Lack_of_hand_washing_practice | 2.Lack of practice of handwasing in staff before and after a shift |  |  | true
select_one yes_no | Absence_of_posters | 3. Absence of posters reminding staff of correct clinical hand washing procedure |  |  | true
select_one yes_no | Absence_of_disposable_gloves_for_invasive_procedures | 4. Absence of disposable gloves for invasive procedures, contact with sterile sites or activities assessed as carrying a risk of exposure to blood, body fluids, secretions or excretions, or to sharp or contaminated instruments? |  |  | true
select_one yes_no | Absence_of_cleaning_schedule | 5. Absence of clear cleaning schedule and frequencies for different facility zones, surfaces and fittings |  |  | true
end_group
calculate | ipc_no | [6 empty] | ${Floors_or_surfaces_visibly_dirty}+${Lack_of_hand_washing_practice}+${Absence_of_posters}+${Absence_of_disposable_gloves_for_invasive_procedures}+${Absence_of_cleaning_schedule}
calculate | ipc_per | [6 empty] | round(${ipc_no}*100 div 5,1)
note | ipc_per1 | Sub total of Infection prevention control-section is ${ipc_per} % and It's rating is | 1.png |  |  | ${ipc_per}<=40
note | ipc_per2 | Sub total of Infection prevention control-section is ${ipc_per} % and It's rating is | 2.png |  |  | ${ipc_per}>40 and ${ipc_per}<=60
note | ipc_per3 | Sub total of Infection prevention control-section is ${ipc_per} % and It's rating is | 3.png |  |  | ${ipc_per}>60 and ${ipc_per}<=75
note | ipc_per4 | Sub total of Infection prevention control-section is ${ipc_per} % and It's rating is | 4.png |  |  | ${ipc_per}>75 and ${ipc_per}<=90
note | ipc_per5 | Sub total of Infection prevention control-section is ${ipc_per} % and It's rating is | 5.png |  |  | ${ipc_per}>90
note | Hospital_Waste_management |  | logo5.png
begin_group | Hospital_Waste_management_1 | Hospital Waste management |  | field-list
select_one yes_no | Lack_of_hub_cutter | 1. Lack of hub cutter/ niddle destroyer |  |  | true
select_one yes_no | Ctf_facility | 2. No CTF connectivity or irregular collection from CTF |  |  | true
select_one yes_no | Insufficient_number_of_Waste_containers | 3. Insufficient number of Waste containers in the health facility |  |  | true
select_one yes_no | Lack_of_personal_protective_equipment | 4. Lack of personal protective equipment in the Health Facility |  |  | true
select_one yes_no | Deep_burial_pit_unavailable | 5. Deep burial pit unavailable for placenta/ infectious bio medical & sharp waste |  |  | true
select_one yes_no | Waste_dumping_or_burning_open_air | 6. Open air dumping of waste/ Dumping and burning open air |  |  | true
select_one yes_no | Waste_pits_not_properly_secured | 7. Waste pits not properly secured (visibly cracked / broken / leaking/lack of cover/broken cover) |  |  | true
end_group
calculate | hwm_no | [6 empty] | ${Lack_of_hub_cutter}+${Ctf_facility}+${Insufficient_number_of_Waste_containers}+${Lack_of_personal_protective_equipment}+${Deep_burial_pit_unavailable}+${Waste_dumping_or_burning_open_air}+${Waste_pits_not_properly_secured}
calculate | hwm_per | [6 empty] | round(${hwm_no}*100 div 7,1)
note | hwm_per1 | Sub total of Hospital waste management-section is ${hwm_per} % and It's rating is | 1.png |  |  | ${hwm_per}<=40
note | hwm_per2 | Sub total of Hospital waste management-section is ${hwm_per} % and It's rating is | 2.png |  |  | ${hwm_per}>40 and ${hwm_per}<=60
note | hwm_per3 | Sub total of Hospital waste management-section is ${hwm_per} % and It's rating is | 3.png |  |  | ${hwm_per}>60 and ${hwm_per}<=75
note | hwm_per4 | Sub total of Hospital waste management-section is ${hwm_per} % and It's rating is | 4.png |  |  | ${hwm_per}>75 and ${hwm_per}<=90
note | hwm_per5 | Sub total of Hospital waste management-section is ${hwm_per} % and It's rating is | 5.png |  |  | ${hwm_per}>90
calculate | Gen_Sec_no | [6 empty] | ${Improved_water_supply_source}+${Insufficient_water_supply}+${Supply_line_passing_through_drains}+${Irregular_water_testing}+${H2S_strip_test_positive}+${Chlorinition_not_done}+${water_storage_tank_not_available}+${water_tank_inadequately_sealed}+${poor_cleaning_schedule}+${records_tank_cleaning_not_avaialble}+${drinking_water_treatment_at_point_of_use}+${unsanitary_condition}+${maintainance_treatment_unit_not_done}+${Excreta_disposal}+${Unsafe_disposal_of_excreta}+${Trained_sanitation_worker_not_available}+${Poor_routine_cleaning_schedule}+${separate_mops_and_accessories_for_cleaning_toilet}+${Floors_or_surfaces_visibly_dirty}+${Lack_of_hand_washing_practice}+${Absence_of_posters}+${Absence_of_disposable_gloves_for_invasive_procedures}+${Absence_of_cleaning_schedule}+${Lack_of_hub_cutter}+${Ctf_facility}+${Insufficient_number_of_Waste_containers}+${Lack_of_personal_protective_equipment}+${Deep_burial_pit_unavailable}+${Waste_dumping_or_burning_open_air}+${Waste_pits_not_properly_secured}
calculate | Gen_Sec_per | [6 empty] | round(${Gen_Sec_no}*100 div 30,1)
note | Gen_Sec_per1 | Sub total of General section and its equipments is ${Gen_Sec_per} % and It's rating is | 1.png |  |  | ${Gen_Sec_per}<=40
note | Gen_Sec_per2 | Sub total of General section and its equipments is ${Gen_Sec_per} % and It's rating is | 2.png |  |  | ${Gen_Sec_per}>40 and ${Gen_Sec_per}<=60
note | Gen_Sec_per3 | Sub total of General section and its equipments is ${Gen_Sec_per} % and It's rating is | 3.png |  |  | ${Gen_Sec_per}>60 and ${Gen_Sec_per}<=75
note | Gen_Sec_per4 | Sub total of General section and its equipments is${Gen_Sec_per} % and It's rating is | 4.png |  |  | ${Gen_Sec_per}>75 and ${Gen_Sec_per}<=90
note | Gen_Sec_per5 | Sub total of General section and its equipments is ${Gen_Sec_per} % and It's rating is | 5.png |  |  | ${Gen_Sec_per}>90
note | Area_1_Post_natal_care_unit | Area: 1. Post natal care unit | logo 6.png
image | image_PNC | PNCU:(Take a picture or upload an image file)
begin_group | Drinking_water_PNC | Drinking water |  | field-list
select_one yes_no | Lack_of_drinking_water_point | 1. Lack of treated drinking water point (No functional drinking water tap in/near the ward) |  |  | true
end_group
begin_group | Toilet_facility_PNC | Toilet facility |  | field-list
select_one yes_no | Dedicated_toilet_block_not_available | 1. Dedicated toilet block not available for PNCU |  |  | true
select_one yes_no | Toilet_block_non_functional | 2. Toilet block non functional/ broken/un clean/ chocked |  |  | true
select_one yes_no | Lack_of_24_7_adequate_quantity_of_water | 3. Lack of 24x7 adequate quantity of water availability for toilet use |  |  | true
select_one yes_no | Lack_of_handwashing_station_pnc | 4. Lack of handwashing station with/near toilet |  |  | true
select_one yes_no | Lack_of_client_handwashing_practices_pnc | 5. Lack of client handwashing practices with soap/liquid soap |  |  | true
end_group
begin_group | Hand_washing_PNCU_Ward | Hand washing |  | field-list
select_one yes_no | Lack_of_functional_hand_washing_station_pnc | 1. Lack of functional hand washing station for clinical hand wash with 24x7 running water |  |  | true
select_one yes_no | Lack_of_hand_washing_practices | 2. Lack of hand washing practices by service provider (to be observed in PNC Ward) |  |  | true
end_group
begin_group | Bio_Medical_Waste_Management_PNC_Ward | Bio Medical Waste Management |  | field-list
select_one yes_no | Lack_of_colour_coded_bins | 1.Lack of biomedical colour coded bins in PNCU for waste segregation |  |  | true
select_one yes_no | Regular_cleaning_bio_medical__waste | 2.Biomedical wastes are cleaned regularly thrice a day |  |  | true
select_one yes_no | Lack_of_correct_use_of_colour_coded_bins | 3. Lack of correct use of colour coded bins |  |  | true
end_group
begin_group | Over_all_Cleaning | Over all Cleaning
select_one yes_no | Floors_or_health_care_surfaces | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids? (to be rated based on observations in PNCU only) |  |  | true
end_group
calculate | PNC_Ward_no | [6 empty] | ${Lack_of_drinking_water_point}+${Dedicated_toilet_block_not_available}+${Toilet_block_non_functional}+${Lack_of_24_7_adequate_quantity_of_water}+${Lack_of_handwashing_station_pnc}+${Lack_of_client_handwashing_practices_pnc}+${Lack_of_functional_hand_washing_station_pnc}+${Lack_of_hand_washing_practices}+${Lack_of_colour_coded_bins}+${Regular_cleaning_bio_medical__waste}+${Lack_of_correct_use_of_colour_coded_bins}+${Floors_or_health_care_surfaces}
calculate | PNC_Ward_per | [6 empty] | round(${PNC_Ward_no}*100 div 12,1)
note | PNC_Ward_per1 | Sub total of Post natal ward-section is ${PNC_Ward_per} % and It's rating is | 1.png |  |  | ${PNC_Ward_per}<=40
note | PNC_Ward_per2 | Sub total of Post natal ward-section is ${PNC_Ward_per} % and It's rating is | 2.png |  |  | ${PNC_Ward_per}>40 and ${PNC_Ward_per}<=60
note | PNC_Ward_per3 | Sub total of Post natal ward-section is ${PNC_Ward_per} % and It's rating is | 3.png |  |  | ${PNC_Ward_per}>60 and ${PNC_Ward_per}<=75
note | PNC_Ward_per4 | Sub total of Post natal ward-section is ${PNC_Ward_per} % and It's rating is | 4.png |  |  | ${PNC_Ward_per}>75 and ${PNC_Ward_per}<=90
note | PNC_Ward_per5 | Sub total of Post natal ward-section is ${PNC_Ward_per} % and It's rating is | 5.png |  |  | ${PNC_Ward_per}>90
note | Area_2_Labor_room | Area:2. Labor Room | logo7.png
image | image_LR | Labor Room:(Take a picture or upload an image file)
begin_group | Drinking_water_point_Labor_Room | Drinking water point |  | field-list
select_one yes_no | Lack_of_treated_drinking_water_point | 1. Lack of treated drinking water point in or near Labour Room? |  |  | true
select_one yes_no | Available_treated_drinking_water | 2. Point of use water treatment not available |  |  | true
end_group
begin_group | Toilet_facility_Labor_Room | Toilet facility |  | field-list
select_one yes_no | Toilet_not_attached_with_labour_room_LR | 1. Toilet not attached with labour room? |  |  | true
select_one yes_no | Inaccessible_toilet_locked_LR | 2. Inaccessible toilet ? (locked) |  |  | true
select_one yes_no | Toiilet_block_unsanitory_condition | 3. Toilet block unsanitary (excreta on toilet surface, or inside cubicle / flooded). |  |  | true
select_one yes_no | Lack_of_cleaning_equipment | 4. Lack of dedicated cleaning equipment (buckets / mops, brushes, detergent etc.) |  |  | true
select_one yes_no | Non_functional_hand_washing_station | 5. Lack of functional hand washing station with toilet |  |  | true
select_one yes_no | Inappropriate_design_for_pregnant_ladies_disabled | 6. Inappropriate design for pregnant ladies/ disabled) |  |  | true
select_one yes_no | Availability_of_adequate_quantity_water | 7. Lack of 24x7 adequate quantity of water availability for toilet use/adequate operation |  |  | true
select_one yes_no | Handwashing_practices | 8. Lack of client handwashing practices with soap/liquid soap |  |  | true
end_group
begin_group | Hand_washing_station_LR | Hand washing station |  | field-list
select_one yes_no | Lack_of_functional_hand_washing_station_LR | 1.Lack of functional hand washing station for clinical hand wash with 24x7 running water (Running water, soap, 70 % alochl based Sanitizer) |  |  | true
select_one yes_no | Absence_of_Elbow_Tap_LR | 2. Absence of Elbow Tap not at hand washing station |  |  | true
select_one yes_no | Absence_of_Soap | 3. Absence of Soap/Liquid soap/Alcohol hand rub |  |  | true
select_one yes_no | Absence_of_sterile_towel_LR | 4. Absence of sterile towel / Tissue / Blow Dry |  |  | true
select_one yes_no | Lack_of_hand_washing_practices_LR | 5. Lack of hand washing practices by service provider (to be observed in LR) |  |  | true
end_group
begin_group | Bio_Medical_Waste_Management_LR | Bio Medical Waste Management |  | field-list
select_one yes_no | Lack_of_colour_coded_bins_LR | 1. Lack of colour coded bins in labour room for waste segregation |  |  | true
select_one yes_no | Lack_of_correct_use_of_colour_coded_bins_LR | 2. Lack of correct use of colour coded bins |  |  | true
end_group
begin_group | Over_all_Cleaning_LR | Over all Cleaning
select_one yes_no | Floor_Healthcaresurfaces_dirty | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids? (to be rated based on observations in LR only) |  |  | true
end_group
calculate | LR_no | [6 empty] | ${Lack_of_treated_drinking_water_point}+${Available_treated_drinking_water}+${Toilet_not_attached_with_labour_room_LR}+${Inaccessible_toilet_locked_LR}+${Toiilet_block_unsanitory_condition}+${Lack_of_cleaning_equipment}+${Non_functional_hand_washing_station}+${Inappropriate_design_for_pregnant_ladies_disabled}+${Availability_of_adequate_quantity_water}+${Handwashing_practices}+${Lack_of_functional_hand_washing_station_LR}+${Absence_of_Elbow_Tap_LR}+${Absence_of_Soap}+${Absence_of_sterile_towel_LR}+${Lack_of_hand_washing_practices_LR}+${Lack_of_colour_coded_bins_LR}+${Lack_of_correct_use_of_colour_coded_bins_LR}+${Floor_Healthcaresurfaces_dirty}
calculate | LR_per | [6 empty] | round(${LR_no}*100 div 18,1)
note | LR_per1 | Sub total of Labour room-section is ${LR_per} % and It's rating is | 1.png |  |  | ${LR_per}<=40
note | LR_per2 | Sub total of Labour room-section is ${LR_per} % and It's rating is | 2.png |  |  | ${LR_per}>40 and ${LR_per}<=60
note | LR_per3 | Sub total of Labour room-section is ${LR_per} % and It's rating is | 3.png |  |  | ${LR_per}>60 and ${LR_per}<=75
note | LR_per4 | Sub total of Labour room-section is ${LR_per} % and It's rating is | 4.png |  |  | ${LR_per}>75 and ${LR_per}<=90
note | LR_per5 | Sub total of Labour room-section is ${LR_per} % and It's rating is | 5.png |  |  | ${LR_per}>90
note | Area_3_OutDoor_Patient_Deparment | Area:4. OutDoor Patient Deparment | logo8.png
image | image_OPD | OutDoor Patient Deparment:(Take a picture or upload an image file)
begin_group | Drinking_water_point_OPD | Drinking water point |  | field-list
select_one yes_no | Lack_of_drinking_water_point_OPD | 1. Lack of drinking water point (No functional drinking water tap in 15m the ward) |  |  | true
select_one yes_no | Point_of_use_water_treatment_not_available_OPD | 2. Point of use water treatment not available? |  |  | true
end_group
begin_group | Toilet_facility_for_OPD_patients | Toilet facility for OPD patients |  | field-list
select_one yes_no | Toilet_block_non_functional_broken_or_No_toilet_facility_available_OPD | 1. Toilet block non functional/ broken or No toilet facility available |  |  | true
select_one yes_no | Lack_of_functional_hand_washing_station_with_toilet_block_OPD | 2. Lack of functional hand washing station with toilet block |  |  | true
end_group
begin_group | Hand_washing_OPD | Hand washing |  | field-list
select_one yes_no | Lack_of_functional_hand_washing_station_and_soap_OPD | 1. Lack of functional hand washing station for Clinical Hand wash? (No 24X7 onsite water available / No Elbow Tap / No Alcohol rub / No soap or liquid soap available)? |  |  | true
end_group
begin_group | Overall_cleaning_OPD | Overall Cleaning |  | field-list
select_one yes_no | Floors_surface_visibly_dirty | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids? (to be rated based on observations in OPD only) |  |  | true
end_group
calculate | OPD_no | [6 empty] | ${Lack_of_drinking_water_point_OPD}+${Point_of_use_water_treatment_not_available_OPD}+${Toilet_block_non_functional_broken_or_No_toilet_facility_available_OPD}+${Lack_of_functional_hand_washing_station_with_toilet_block_OPD}+${Lack_of_functional_hand_washing_station_and_soap_OPD}+${Floors_surface_visibly_dirty}
calculate | OPD_per | [6 empty] | round(${OPD_no}*100 div 6,1)
note | OPD_per1 | Sub total of Out patient deprtment-section is ${OPD_per} % and It's rating is | 1.png |  |  | ${OPD_per}<=40
note | OPD_per2 | Sub total of Out patient deprtment-section is ${OPD_per} % and It's rating is | 2.png |  |  | ${OPD_per}>40 and ${OPD_per}<=60
note | OPD_per3 | Sub total of Out patient deprtment-section is ${OPD_per} % and It's rating is | 3.png |  |  | ${OPD_per}>60 and ${OPD_per}<=75
note | OPD_per4 | Sub total of Out patient deprtment-section is ${OPD_per} % and It's rating is | 4.png |  |  | ${OPD_per}>75 and ${OPD_per}<=90
note | OPD_per5 | Sub total of Out patient deprtment-section is ${OPD_per} % and It's rating is | 5.png |  |  | ${OPD_per}>90
select_one yes | NRC | NRC Exists at the Institution: |  |  | TRUE
note | Area_4_Nutritional_Rehabilitation_Center | Area: 4. Nutritional Rehabilitation Centre (NRC) exists at the Institutions | logo9.png |  |  | ${NRC}="Yes"
begin_group | Drinking_water_point_NRC | Drinking water point |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Lack_of_drinking_water_point_No_functional_drinking_water_tap_in_15m_the_ward_NRC | 1. Lack of drinking water point (No functional drinking water tap in 15m the ward) |  |  | true
select_one yes_no | Point_of_use_water_treatment_not_available_NRC | 2. Point of use water treatment not available? |  |  | true
end_group
begin_group | Drinking_water_point_NRC_Score | Drinking water point |  | field-list |  | ${NRC}="Yes"
calculate | Drinking_water_point_NRC_no | [6 empty] | ${Lack_of_drinking_water_point_No_functional_drinking_water_tap_in_15m_the_ward_NRC}+${Point_of_use_water_treatment_not_available_NRC}
calculate | Drinking_water_point_NRC_per | [6 empty] | round(${Drinking_water_point_NRC_no}*100 div 2,1)
note | Drinking_water_point_NRC_per1 | Sub total of Sub total of Water Section is ${Drinking_water_point_NRC_per} % and It's rating is | 1.png |  |  | ${Drinking_water_point_NRC_per}<=40
note | Drinking_water_point_NRC_per2 | Sub total of Sub total of Water Section is ${Drinking_water_point_NRC_per} % and It's rating is | 2.png |  |  | ${Drinking_water_point_NRC_per}>40 and ${Drinking_water_point_NRC_per}<=60
note | Drinking_water_point_NRC_per3 | Sub total of Sub total of Water Section is ${Drinking_water_point_NRC_per} % and It's rating is | 3.png |  |  | ${Drinking_water_point_NRC_per}>60 and ${Drinking_water_point_NRC_per}<=75
note | Drinking_water_point_NRC_per4 | Sub total of Sub total of Water Section is ${Drinking_water_point_NRC_per} % and It's rating is | 4.png |  |  | ${Drinking_water_point_NRC_per}>75 and ${Drinking_water_point_NRC_per}<=90
note | Drinking_water_point_NRC_per5 | Sub total of Sub total of Water Section is ${Drinking_water_point_NRC_per} % and It's rating is | 5.png |  |  | ${Drinking_water_point_NRC_per}>90
end_group
begin_group | Toilet_and_bathroom_facility | Toilet and bathroom facility |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Toilet_block_non_functional_broken_or_No_toilet_facility_available_NRC | 1. Toilet block non functional/ broken or No toilet facility available |  |  | true
select_one yes_no | Lack_of_functional_hand_washing_station_with_toilet_block_NRC | 2.Lack of functional hand washing station with availability of saop near toilet block |  |  | true
end_group
begin_group | Toilet_and_bathroom_facility_Score | Toilet and bathroom facility |  | field-list |  | ${NRC}="Yes"
calculate | toilet_point_NRC_no | [6 empty] | ${Toilet_block_non_functional_broken_or_No_toilet_facility_available_NRC}+${Lack_of_functional_hand_washing_station_with_toilet_block_NRC}
calculate | toilet_point_NRC_per | [6 empty] | round(${toilet_point_NRC_no}*100 div 2, 1)
note | toilet_point_NRC_per1 | Sub total of Sub total of Water Section is ${toilet_point_NRC_per} % and It's rating is | 1.png |  |  | ${toilet_point_NRC_per}<=40
note | toilet_point_NRC_per2 | Sub total of Sub total of Water Section is ${toilet_point_NRC_per} % and It's rating is | 2.png |  |  | ${toilet_point_NRC_per}>40 and ${toilet_point_NRC_per}<=60
note | toilet_point_NRC_per3 | Sub total of Sub total of Water Section is ${toilet_point_NRC_per} % and It's rating is | 3.png |  |  | ${toilet_point_NRC_per}>60 and ${toilet_point_NRC_per}<=75
note | toilet_point_NRC_per4 | Sub total of Sub total of Water Section is ${toilet_point_NRC_per} % and It's rating is | 4.png |  |  | ${toilet_point_NRC_per}>75 and ${toilet_point_NRC_per}<=90
note | toilet_point_NRC_per5 | Sub total of Sub total of Water Section is ${toilet_point_NRC_per} % and It's rating is | 5.png |  |  | ${toilet_point_NRC_per}>90
end_group
begin_group | Hand_washing_NRC | Hand washing |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Absence_of_hand_washing_station_and_soap_NRC | 1.Absence of hand washing station and soap within NRC? |  |  | true
end_group
begin_group | Hand_washing_NRC_Score | Hand washing |  | field-list |  | ${NRC}="Yes"
calculate | Hand_washing_NRC_no | [6 empty] | ${Absence_of_hand_washing_station_and_soap_NRC}
calculate | Hand_washing_NRC_per | [6 empty] | ${Hand_washing_NRC_no}*100
note | Hand_washing_NRC_per1 | Sub total of Sub total of Water Section is ${Hand_washing_NRC_per} % and It's rating is | 1.png |  |  | ${Hand_washing_NRC_per}<=40
note | Hand_washing_NRC_per2 | Sub total of Sub total of Water Section is ${Hand_washing_NRC_per} % and It's rating is | 2.png |  |  | ${Hand_washing_NRC_per}>40 and ${Hand_washing_NRC_per}<=60
note | Hand_washing_NRC_per3 | Sub total of Sub total of Water Section is ${Hand_washing_NRC_per} % and It's rating is | 3.png |  |  | ${Hand_washing_NRC_per}>60 and ${Hand_washing_NRC_per}<=75
note | Hand_washing_NRC_per4 | Sub total of Sub total of Water Section is ${Hand_washing_NRC_per} % and It's rating is | 4.png |  |  | ${Hand_washing_NRC_per}>75 and ${Hand_washing_NRC_per}<=90
note | Hand_washing_NRC_per5 | Sub total of Sub total of Water Section is ${Hand_washing_NRC_per} % and It's rating is | 5.png |  |  | ${Hand_washing_NRC_per}>90
end_group
begin_group | Infection_Control_NRC | Infection Control |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Floors_or_health-care_surfaces_NRC | 1. Floors or health-care surfaces visibly dirty or unclean? |  |  | true
end_group
begin_group | Infection_Control_NRC_Score | Infection Control |  | field-list |  | ${NRC}="Yes"
calculate | Infection_Control_NRC_no | [6 empty] | ${Floors_or_health-care_surfaces_NRC}
calculate | Infection_Control_NRC_per | [6 empty] | ${Infection_Control_NRC_no}*100
note | Infection_Control_NRC_per1 | Sub total of Infection Control section Section is ${Infection_Control_NRC_per} % and It's rating is | 1.png |  |  | ${Infection_Control_NRC_per}<=40
note | Infection_Control_NRC_per2 | Sub total of Infection Control section Section is ${Infection_Control_NRC_per} % and It's rating is | 2.png |  |  | ${Infection_Control_NRC_per}>40 and ${Infection_Control_NRC_per}<=60
note | Infection_Control_NRC_per3 | Sub total of Infection Control section Section is ${Infection_Control_NRC_per} % and It's rating is | 3.png |  |  | ${Infection_Control_NRC_per}>60 and ${Infection_Control_NRC_per}<=75
note | Infection_Control_NRC_per4 | Sub total of Infection Control section Section is ${Infection_Control_NRC_per} % and It's rating is | 4.png |  |  | ${Infection_Control_NRC_per}>75 and ${Infection_Control_NRC_per}<=90
note | Infection_Control_NRC_per5 | Sub total of Infection Control section Section is ${Infection_Control_NRC_per} % and It's rating is | 5.png |  |  | ${Infection_Control_NRC_per}>90
end_group
begin_group | Kitchen_Room | Kitchen Room |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Improper_cleaning_of_food_storage_area | 1. Improper cleaning of food storage area and improper covering and storage of ingredients and food at the proper temperature |  |  | true
end_group
begin_group | Kitchen_Room_Score | Kitchen Room |  | field-list |  | ${NRC}="Yes"
calculate | Kitchen_NRC_no | [6 empty] | ${Improper_cleaning_of_food_storage_area}
calculate | Kitchen_NRC_per | [6 empty] | ${Kitchen_NRC_no}*100
note | Kitchen_NRC_per1 | Sub total of Kitchen section is ${Kitchen_NRC_per} % and It's rating is | 1.png |  |  | ${Kitchen_NRC_per}<=40
note | Kitchen_NRC_per2 | Sub total of Kitchen section is ${Kitchen_NRC_per} % and It's rating is | 2.png |  |  | ${Kitchen_NRC_per}>40 and ${Kitchen_NRC_per}<=60
note | Kitchen_NRC_per3 | Sub total of Kitchen section is ${Kitchen_NRC_per} % and It's rating is | 3.png |  |  | ${Kitchen_NRC_per}>60 and ${Kitchen_NRC_per}<=75
note | Kitchen_NRC_per4 | Sub total of Kitchen section is ${Kitchen_NRC_per} % and It's rating is | 4.png |  |  | ${Kitchen_NRC_per}>75 and ${Kitchen_NRC_per}<=90
note | Kitchen_NRC_per5 | Sub total of Kitchen section is ${Kitchen_NRC_per} % and It's rating is | 5.png |  |  | ${Kitchen_NRC_per}>90
end_group
begin_group | Waste_management | Waste management |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Lack_of_colour_coded_bins_as_per_guideline | 1.Lack of colour coded bins as per guideline |  |  | true
end_group
begin_group | Waste_management_Score | Waste management |  | field-list |  | ${NRC}="Yes"
calculate | WM_NRC_no | [6 empty] | ${Lack_of_colour_coded_bins_as_per_guideline}
calculate | WM_NRC_per | [6 empty] | ${WM_NRC_no}*100
note | WM_NRC_per1 | Sub total of Waste management is ${WM_NRC_per} % and It's rating is | 1.png |  |  | ${WM_NRC_per}<=40
note | WM_NRC_per2 | Sub total of Waste management is ${WM_NRC_per} % and It's rating is | 2.png |  |  | ${WM_NRC_per}>40 and ${WM_NRC_per}<=60
note | WM_NRC_per3 | Sub total of Waste management is ${WM_NRC_per} % and It's rating is | 3.png |  |  | ${WM_NRC_per}>60 and ${WM_NRC_per}<=75
note | WM_NRC_per4 | Sub total of Waste management is ${WM_NRC_per} % and It's rating is | 4.png |  |  | ${WM_NRC_per}>75 and ${WM_NRC_per}<=90
note | WM_NRC_per5 | Sub total of Waste management is ${WM_NRC_per} % and It's rating is | 5.png |  |  | ${WM_NRC_per}>90
end_group
begin_group | NRC_Score | NRC Score |  | field-list |  | ${NRC}="Yes"
calculate | NRC_Facility_no | [6 empty] | ${Drinking_water_point_NRC_no}+${toilet_point_NRC_no}+${Hand_washing_NRC_no}+${Infection_Control_NRC_no}+${Kitchen_NRC_no}+${WM_NRC_no}
calculate | NRC_Facility_per | [6 empty] | round(${NRC_Facility_no}*100 div 8)
note | NRC_Facility_per1 | Sub total of NRC facilities and equipments is ${NRC_Facility_per} % and It's rating is | 1.png |  |  | ${NRC_Facility_per}<=40
note | NRC_Facility_per2 | Sub total of NRC facilities and equipments is ${NRC_Facility_per} % and It's rating is | 2.png |  |  | ${NRC_Facility_per}>40 and ${NRC_Facility_per}<=60
note | NRC_Facility_per3 | Sub total of NRC facilities and equipments is ${NRC_Facility_per} % and It's rating is | 3.png |  |  | ${NRC_Facility_per}>60 and ${NRC_Facility_per}<=75
note | NRC_Facility_per4 | Sub total of NRC facilities and equipments is ${NRC_Facility_per} % and It's rating is | 4.png |  |  | ${NRC_Facility_per}>75 and ${NRC_Facility_per}<=90
note | NRC_Facility_per5 | Sub total of NRC facilities and equipments is ${NRC_Facility_per} % and It's rating is | 5.png |  |  | ${NRC_Facility_per}>90
end_group
select_one yes | paed | Paediatric ward exists at the Institution: |  |  | TRUE
note | Area_5_Paediatric_Ward | Area: 5. Paediatric Ward(PW) | logo10.png |  |  | ${paed}="Yes"
begin_group | Water_supply_Paediatric_Ward | Water supply |  | field-list |  | ${paed}="Yes"
select_one yes_no | Lack_of_drinking_water_point_Paed_ward | 1. Lack of drinking water point (No functional drinking water tap in/near the ward) |  |  | true
end_group
begin_group | Water_supply_Paediatric_Ward_Score | Water supply |  | field-list |  | ${paed}="Yes"
calculate | Drinking_water_point_Paed_ward_no | [6 empty] | ${Lack_of_drinking_water_point_Paed_ward}
calculate | Drinking_water_point_Paed_ward_per | [6 empty] | ${Drinking_water_point_Paed_ward_no}*100
note | Drinking_water_point_Paed_ward_per1 | Sub total of Water Supply is ${Drinking_water_point_Paed_ward_per} % and It's rating is | 1.png |  |  | ${Drinking_water_point_Paed_ward_per}<=40
note | Drinking_water_point_Paed_ward_per2 | Sub total of Water Supply is ${Drinking_water_point_Paed_ward_per} % and It's rating is | 2.png |  |  | ${Drinking_water_point_Paed_ward_per}>40 and ${Drinking_water_point_Paed_ward_per}<=60
note | Drinking_water_point_Paed_ward_per3 | Sub total of Water Supply is ${Drinking_water_point_Paed_ward_per} % and It's rating is | 3.png |  |  | ${Drinking_water_point_Paed_ward_per}>60 and ${Drinking_water_point_Paed_ward_per}<=75
note | Drinking_water_point_Paed_ward_per4 | Sub total of Water Supply is ${Drinking_water_point_Paed_ward_per} % and It's rating is | 4.png |  |  | ${Drinking_water_point_Paed_ward_per}>75 and ${Drinking_water_point_Paed_ward_per}<=90
note | Drinking_water_point_Paed_ward_per5 | Sub total of Water Supply is ${Drinking_water_point_Paed_ward_per} % and It's rating is | 5.png |  |  | ${Drinking_water_point_Paed_ward_per}>90
end_group
begin_group | Toilet_facility_at_Paed | Toilet facility at ward |  | field-list |  | ${paed}="Yes"
select_one yes_no | Dedicated_toilet_block_not_available_Paed_ward | 1. Dedicated toilet block not available for Pediatric Ward |  |  | true
select_one yes_no | Toilet_block_non_functional_Paed_ward | 2. Toilet block non functional/ broken/un clean/ chocked |  |  | true
select_one yes_no | Lack_of_24_adequate_quantity_Paed_ward | 3. Lack of 24x7 adequate quantity of water availability for toilet use |  |  | true
select_one yes_no | Lack_of_handwashing_station_near_toilet_Paed_ward | 4. Lack of handwashing station near toilet |  |  | true
select_one yes_no | Lack_of_client_handwashing_practices_Paed_ward | 5. Lack of client handwashing practices with soap/liquid soap |  |  | true
end_group
begin_group | Toilet_facility_at_Paed_Score | Toilet facility at ward |  | field-list |  | ${paed}="Yes"
calculate | Toilet_Facility_Paed_ward_no | [6 empty] | ${Dedicated_toilet_block_not_available_Paed_ward}+${Toilet_block_non_functional_Paed_ward}+${Lack_of_24_adequate_quantity_Paed_ward}+${Lack_of_handwashing_station_near_toilet_Paed_ward}+${Lack_of_client_handwashing_practices_Paed_ward}
calculate | Toilet_Facility_Paed_ward_per | [6 empty] | round(${Toilet_Facility_Paed_ward_no}*100 div 5,1)
note | Toilet_Facility_Paed_ward_per1 | Sub total of Toilet Facility is ${Toilet_Facility_Paed_ward_per} % and It's rating is | 1.png |  |  | ${Toilet_Facility_Paed_ward_per}<=40
note | Toilet_Facility_Paed_ward_per2 | Sub total of Toilet Facility is ${Toilet_Facility_Paed_ward_per} % and It's rating is | 2.png |  |  | ${Toilet_Facility_Paed_ward_per}>40 and ${Toilet_Facility_Paed_ward_per}<=60
note | Toilet_Facility_Paed_ward_per3 | Sub total of Toilet Facility is ${Toilet_Facility_Paed_ward_per} % and It's rating is | 3.png |  |  | ${Toilet_Facility_Paed_ward_per}>60 and ${Toilet_Facility_Paed_ward_per}<=75
note | Toilet_Facility_Paed_ward_per4 | Sub total of Toilet Facility is ${Toilet_Facility_Paed_ward_per} % and It's rating is | 4.png |  |  | ${Toilet_Facility_Paed_ward_per}>75 and ${Toilet_Facility_Paed_ward_per}<=90
note | Toilet_Facility_Paed_ward_per5 | Sub total of Toilet Facility is ${Toilet_Facility_Paed_ward_per} % and It's rating is | 5.png |  |  | ${Toilet_Facility_Paed_ward_per}>90
end_group
begin_group | Hand_Washing_Paediatric_Ward | Hand Washing |  | field-list |  | ${paed}="Yes"
select_one yes_no | Lack_of_functional_hand_washing_station_Paed_ward | 1. Lack of functional hand washing station for clinical hand wash with 24x7 running water |  |  | true
select_one yes_no | Absence_of_Elbow_Tap_Paed_ward | 2. Absence of Elbow Tap not at hand washing station |  |  | true
select_one yes_no | Absence_of_Soap_Paed_sterile_towel_ward | 3. Absence of Soap/Liquid soap/Alcohol hand rub /sterile towel / Tissue / Blow Dry |  |  | true
select_one yes_no | Lack_of_hand_washing_practices_Paed_ward | 4. Lack of hand washing practices by service provider (to be observed in PW) |  |  | true
end_group
begin_group | Hand_Washing_Paediatric_Ward_Score | Hand Washing |  | field-list |  | ${paed}="Yes"
calculate | Hand_Washing_Paed_ward_no | [6 empty] | ${Lack_of_functional_hand_washing_station_Paed_ward}+${Absence_of_Elbow_Tap_Paed_ward}+${Absence_of_Soap_Paed_sterile_towel_ward}+${Lack_of_hand_washing_practices_Paed_ward}
calculate | Hand_Washing_Paed_ward_per | [6 empty] | round(${Hand_Washing_Paed_ward_no}*100 div 4)
note | Hand_Washing_Paed_ward_per1 | Sub total of Hand Washing is ${Hand_Washing_Paed_ward_per} % and It's rating is | 1.png |  |  | ${Hand_Washing_Paed_ward_per}<=40
note | Hand_Washing_Paed_ward_per2 | Sub total of Hand Washing is ${Hand_Washing_Paed_ward_per} % and It's rating is | 2.png |  |  | ${Hand_Washing_Paed_ward_per}>40 and ${Hand_Washing_Paed_ward_per}<=60
note | Hand_Washing_Paed_ward_per3 | Sub total of Hand Washing is ${Hand_Washing_Paed_ward_per} % and It's rating is | 3.png |  |  | ${Hand_Washing_Paed_ward_per}>60 and ${Hand_Washing_Paed_ward_per}<=75
note | Hand_Washing_Paed_ward_per4 | Sub total of Hand Washing is ${Hand_Washing_Paed_ward_per} % and It's rating is | 4.png |  |  | ${Hand_Washing_Paed_ward_per}>75 and ${Hand_Washing_Paed_ward_per}<=90
note | Hand_Washing_Paed_ward_per5 | Sub total of Hand Washing is ${Hand_Washing_Paed_ward_per} % and It's rating is | 5.png |  |  | ${Hand_Washing_Paed_ward_per}>90
end_group
begin_group | Bio_Medical_Waste_Management_Paediatric_Ward | Bio Medical Waste Management |  | field-list |  | ${paed}="Yes"
select_one yes_no | Lack_of_colour_coded_bins_Paed_ward | 1. Lack of colour coded bins in PW for waste segregation |  |  | true
select_one yes_no | Lack_of_correct_use_of_colour_coded_bins_Paed_ward | 2. Lack of correct use of colour coded bins |  |  | true
select_one yes_no | Unavailability_of_materials_for_cleaning | 3. Unavailability of appropriate and sufficient materials for cleaning (i.e. detergent, mops, bucket etc.) |  |  | true
end_group
begin_group | Bio_Medical_Waste_Management_Paediatric_Ward_Score | Bio Medical Waste Management |  | field-list |  | ${paed}="Yes"
calculate | BMW_Paed_ward_no | [6 empty] | ${Lack_of_colour_coded_bins_Paed_ward}+${Lack_of_correct_use_of_colour_coded_bins_Paed_ward}+${Unavailability_of_materials_for_cleaning}
calculate | BMW_Paed_ward_per | [6 empty] | round(${BMW_Paed_ward_no}*100 div 3,1)
note | BMW_Paed_ward_per1 | Sub total of Bio Medical Waste Management is ${BMW_Paed_ward_per} % and It's rating is | 1.png |  |  | ${BMW_Paed_ward_per}<=40
note | BMW_Paed_ward_per2 | Sub total of Bio Medical Waste Management is ${BMW_Paed_ward_per} % and It's rating is | 2.png |  |  | ${BMW_Paed_ward_per}>40 and ${BMW_Paed_ward_per}<=60
note | BMW_Paed_ward_per3 | Sub total of Bio Medical Waste Management is ${BMW_Paed_ward_per} % and It's rating is | 3.png |  |  | ${BMW_Paed_ward_per}>60 and ${BMW_Paed_ward_per}<=75
note | BMW_Paed_ward_per4 | Sub total of Bio Medical Waste Management is ${BMW_Paed_ward_per} % and It's rating is | 4.png |  |  | ${BMW_Paed_ward_per}>75 and ${BMW_Paed_ward_per}<=90
note | BMW_Paed_ward_per5 | Sub total of Bio Medical Waste Management is ${BMW_Paed_ward_per} % and It's rating is | 5.png |  |  | ${BMW_Paed_ward_per}>90
end_group
begin_group | Over_all_cleaning_Paed_ward | Over all cleaning in Paediatric ward |  | field-list |  | ${paed}="Yes"
select_one yes_no | Floors_or_health-care_surfaces_Paed_ward | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids?(to be rated based on observations in PW only) |  |  | true
end_group
begin_group | Over_all_cleaning_Paed_ward | Over all cleaning in Paediatric ward |  | field-list |  | ${paed}="Yes"
calculate | Over_all_cleaning_Paed_ward_no | [6 empty] | ${Floors_or_health-care_surfaces_Paed_ward}
calculate | Over_all_cleaning_Paed_ward_per | [6 empty] | ${Over_all_cleaning_Paed_ward_no}*100
note | Over_all_cleaning_Paed_ward_per1 | Sub total of Over all cleaning and Equipments is ${Over_all_cleaning_Paed_ward_per} % and It's rating is | 1.png |  |  | ${Over_all_cleaning_Paed_ward_per}<=40
note | Over_all_cleaning_Paed_ward_per2 | Sub total of Over all cleaning and Equipments is ${Over_all_cleaning_Paed_ward_per} % and It's rating is | 2.png |  |  | ${Over_all_cleaning_Paed_ward_per}>40 and ${Over_all_cleaning_Paed_ward_per}<=60
note | Over_all_cleaning_Paed_ward_per3 | Sub total of Over all cleaning and Equipments is ${Over_all_cleaning_Paed_ward_per} % and It's rating is | 3.png |  |  | ${Over_all_cleaning_Paed_ward_per}>60 and ${Over_all_cleaning_Paed_ward_per}<=75
note | Over_all_cleaning_Paed_ward_per4 | Sub total of Over all cleaning and Equipments is ${Over_all_cleaning_Paed_ward_per} % and It's rating is | 4.png |  |  | ${Over_all_cleaning_Paed_ward_per}>75 and ${Over_all_cleaning_Paed_ward_per}<=90
note | Over_all_cleaning_Paed_ward_per5 | Sub total of Over all cleaning and Equipments is ${Over_all_cleaning_Paed_ward_per} % and It's rating is | 5.png |  |  | ${Over_all_cleaning_Paed_ward_per}>90
end_group
begin_group | Paed_ward_score | Paediatric Ward Score |  | field-list |  | ${paed}="Yes"
calculate | Paed_Ward | [6 empty] | ${Drinking_water_point_Paed_ward_no}+${Toilet_Facility_Paed_ward_no}+${Hand_Washing_Paed_ward_no}+${BMW_Paed_ward_no}+${Over_all_cleaning_Paed_ward_no}
calculate | Paed_Ward_per | [6 empty] | round(${Paed_Ward}*100 div 14,1)
note | Paed_Ward_per1 | Sub total of Paediatric Ward and equipments is ${Paed_Ward_per} % and It's rating is | 1.png |  |  | ${Paed_Ward_per}<=40
note | Paed_Ward_per2 | Sub total of Paediatric Ward and equipments is ${Paed_Ward_per} % and It's rating is | 2.png |  |  | ${Paed_Ward_per}>40 and ${Paed_Ward_per}<=60
note | Paed_Ward_per3 | Sub total of Paediatric Ward and equipments is ${Paed_Ward_per} % and It's rating is | 3.png |  |  | ${Paed_Ward_per}>60 and ${Paed_Ward_per}<=75
note | Paed_Ward_per4 | Sub total of Paediatric Ward and equipments is ${Paed_Ward_per} % and It's rating is | 4.png |  |  | ${Paed_Ward_per}>75 and ${Paed_Ward_per}<=90
note | Paed_Ward_per5 | Sub total of Paediatric Ward and equipments is ${Paed_Ward_per} % and It's rating is | 5.png |  |  | ${Paed_Ward_per}>90
end_group
select_one yes | ccc | Covid Care Center exists at the Institution: |  |  | TRUE
note | Area_6_Covid19_care_centers | Area: 6. COVID -19 care centers | logo11.png |  |  | ${ccc}="Yes"
image | image_CCC | COVID-19 care centers:(Take a picture or upload an image file)
begin_group | Drinkingwater_CCC | COVID-19 care centers |  | field-list |  | ${ccc}="Yes"
select_one yes_no | Separate_wards_for_confirmed_and_suspected_cases | 1. Lack of separate wards for confirmed and suspected cases |  |  | true
select_one yes_no | Lack_of_treated_drinking_water | 2. Lack of treated drinking water in the COVID-19 wards within the ward |  |  | true
end_group
begin_group | Toilet_facility_CCC | Toilet facility |  | field-list |  | ${ccc}="Yes"
select_one yes_no | Bedpan_not_disinfected | 1. Bedpan not disinfected with 0.1 % chlorine solution. |  |  | true
select_one yes_no | Requiredstock_not_available | 2. Required stock/lack of PPE for cleaning staff not available / Cleaning staff not wearing PPE. |  |  | true
select_one yes_no | Toilets_are_not_cleaned | 3.Toilets are not cleaned daily thrice. |  |  | true
end_group
begin_group | Bio_medical_waste_CCC | Biomedical Waste |  | field-list |  | ${ccc}="Yes"
select_one yes_no | Placed_Bio_medical_waste_bins | 1. COVID-19 tagged Bio-medical waste bins are not placed in the wards/Lack of Color coded Bins / polythenes for COVID-19 waste such as Red, Yellow, Blue, White and Green. |  |  | true
select_one yes_no | Waste_not_disposed | 2. Wastes are not disposed in every six hours in desired bags with tags of COVID-19 waste/Lack of waste segregation as per the COVID-19 protocols (Bio-degradable or recyclable waste). |  |  | true
select_one yes_no | Sanitationworkers_Notwearing | 3. Sanitation workers not wearing/using complete PPE set while entering and handling the COVID-19 waste. |  |  | true
select_one yes_no | Transportationtrolleys_notinuse | 4.COVID-19 labelled waste separate transportation trolly not in use. |  |  | true
select_one yes_no | Transportationtrolleys_notsanitised | 5. COVID-19 transportation vehicle not sanitized after every trip. |  |  | true
select_one yes_no | Noseparate_temporary_storageroom | 6. There is no any separate temporary storage room for COVID-19 labelled waste. |  |  | true
select_one yes_no | SoiledPPE_notinbag | 7. Soiled PPE not putting in sealed bag for safe disposal or laundering (Covid section) |  |  | true
select_one yes_no | Untrained_staff | 8.COVID-19 care staffs are untrained in WASH and COVID-19 maintenance. |  |  | true
end_group
begin_group | Infection_prevention_Hand_washing_CCC | Handwashing and Infection Prevention |  | field-list |  | ${ccc}="Yes"
select_one yes_no | Patient_washinghands | 1.Patients are washing hands in the wards irregularly. |  |  | true
select_one yes_no | Distance_bedslessthanonemeter | 2.Distance between the beds is less than one meter. |  |  | true
end_group
begin_group | Infection_prevention_Hand_washing_CCC_Score | Handwashing and Infection Prevention |  | field-list |  | ${ccc}="Yes"
calculate | ccc_no | [6 empty] | ${Separate_wards_for_confirmed_and_suspected_cases}+${Lack_of_treated_drinking_water}+${Bedpan_not_disinfected}+${Requiredstock_not_available}+${Toilets_are_not_cleaned}+${Placed_Bio_medical_waste_bins}+${Waste_not_disposed}+${Sanitationworkers_Notwearing}+${Transportationtrolleys_notinuse}+${Transportationtrolleys_notsanitised}+${Noseparate_temporary_storageroom}+${SoiledPPE_notinbag}+${Untrained_staff}+${Patient_washinghands}+${Distance_bedslessthanonemeter}
calculate | ccc_per | [6 empty] | round(${ccc_no}*100 div 15,1)
note | ccc_per1 | Sub total of Covid-19 care centre-section is ${ccc_per} % and It's rating is | 1.png |  |  | ${ccc_per}<=40
note | ccc_per2 | Sub total of Covid-19 care centre-section is ${ccc_per} % and It's rating is | 2.png |  |  | ${ccc_per}>40 and ${ccc_per}<=60
note | ccc_per3 | Sub total of Covid-19 care centre-section is ${ccc_per} % and It's rating is | 3.png |  |  | ${ccc_per}>60 and ${ccc_per}<=75
note | ccc_per4 | Sub total of Covid-19 care centre-section is ${ccc_per} % and It's rating is | 4.png |  |  | ${ccc_per}>75 and ${ccc_per}<=90
note | ccc_per5 | Sub total of Covid-19 care centre-section is ${ccc_per} % and It's rating is | 5.png |  |  | ${ccc_per}>90
end_group
select_one yes | sncu | SNCU exists at the Institution: |  |  | TRUE
note | Area_7_SNCU | Area: 7. SNCU | logo12.png
begin_group | Water_supply_SNCU | Water supply |  | field-list |  | ${sncu}="Yes"
select_one yes_no | Lack_of_drinking_water_point_SNCU_ward | 1. Lack of drinking water point (No functional drinking water tap in/near the SNCU) |  |  | true | ${sncu}="Yes"
end_group
begin_group | Toilet_facility_at_SNCU | Toilet facility at ward |  | field-list |  | ${sncu}="Yes"
select_one yes_no | Dedicated_toilet_block_not_available_SNCU_ward | 1. Dedicated toilet block not available for SNCU |  |  | true
select_one yes_no | Toilet_block_non_functional_SNCU_ward | 2. Toilet block non functional/ broken/un clean/ chocked |  |  | true
select_one yes_no | Lack_of_24_adequate_quantity_SNCU_ward | 3. Lack of 24x7 adequate quantity of water availability for toilet use |  |  | true
select_one yes_no | Lack_of_handwashing_station_near_toilet_SNCU_ward | 4. Lack of handwashing station near toilet |  |  | true
select_one yes_no | Lack_of_client_handwashing_practices_SNCU_ward | 5. Lack of client handwashing practices with soap/liquid soap |  |  | true
end_group
begin_group | Hand_Washing_SNCU | Hand Washing |  | field-list |  | ${sncu}="Yes"
select_one yes_no | Lack_of_functional_hand_washing_station_SNCU_ward | 1. Lack of functional hand washing station for clinical hand wash with 24x7 running water |  |  | true
select_one yes_no | Absence_of_Elbow_Tap_SNCU_ward | 2. Absence of Elbow Tap not at hand washing station |  |  | true
select_one yes_no | Absence_of_Soap_SNCU_sterile_towel_ward | 3. Absence of Soap/Liquid soap/Alcohol hand rub /sterile towel / Tissue / Blow Dry |  |  | true
select_one yes_no | Lack_of_hand_washing_practices_SNCU_ward | 4. Lack of hand washing practices by service provider (to be observed in PW) |  |  | true
end_group
begin_group | Bio_Medical_Waste_Management_SNCU | Bio Medical Waste Management |  | field-list |  | ${sncu}="Yes"
select_one yes_no | Lack_of_colour_coded_bins_SNCU_ward | 1. Lack of colour coded bins in PW for waste segregation |  |  | true
select_one yes_no | Lack_of_correct_use_of_colour_coded_bins_SNCU_ward | 2. Lack of correct use of colour coded bins |  |  | true
select_one yes_no | unavailability_of_materials_for_cleaning | 3. Unavailability of appropriate and sufficient materials for cleaning (i.e. detergent, mops, bucket etc.) |  |  | true
end_group
begin_group | Over_all_cleaning_SNCU_ward | Over all cleaning in Paediatric ward |  | field-list |  | ${sncu}="Yes"
select_one yes_no | Floors_or_health-care_surfaces_SNCU_ward | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids?(to be rated based on observations in PW only) |  |  | true
end_group
begin_group | SNCU_Ward_score | SNCU Ward Score |  | field-list |  | ${sncu}="Yes"
calculate | SNCU_Ward | [6 empty] | ${Lack_of_drinking_water_point_SNCU_ward}+${Dedicated_toilet_block_not_available_SNCU_ward}+${Toilet_block_non_functional_SNCU_ward}+${Lack_of_24_adequate_quantity_SNCU_ward}+${Lack_of_handwashing_station_near_toilet_SNCU_ward}+${Lack_of_client_handwashing_practices_SNCU_ward}+${Lack_of_functional_hand_washing_station_SNCU_ward}+${Absence_of_Elbow_Tap_SNCU_ward}+${Absence_of_Soap_SNCU_sterile_towel_ward}+${Lack_of_hand_washing_practices_SNCU_ward}+${Lack_of_colour_coded_bins_SNCU_ward}+${Lack_of_correct_use_of_colour_coded_bins_SNCU_ward}+${unavailability_of_materials_for_cleaning}+${Floors_or_health-care_surfaces_SNCU_ward}
calculate | SNCU_Ward_per | [6 empty] | round(${SNCU_Ward}*100 div 14,1)
note | SNCU_Ward_per1 | Sub total of SNCU Ward and equipments is ${SNCU_Ward_per} % and It's rating is | 1.png |  |  | ${SNCU_Ward_per}<=40
note | SNCU_Ward_per2 | Sub total of SNCU Ward and equipments is ${SNCU_Ward_per} % and It's rating is | 2.png |  |  | ${SNCU_Ward_per}>40 and ${SNCU_Ward_per}<=60
note | SNCU_Ward_per3 | Sub total of SNCU Ward and equipments is ${SNCU_Ward_per} % and It's rating is | 3.png |  |  | ${SNCU_Ward_per}>60 and ${SNCU_Ward_per}<=75
note | SNCU_Ward_per4 | Sub total of SNCU Ward and equipments is ${SNCU_Ward_per} % and It's rating is | 4.png |  |  | ${SNCU_Ward_per}>75 and ${SNCU_Ward_per}<=90
note | SNCU_Ward_per5 | Sub total of SNCU Ward and equipments is ${SNCU_Ward_per} % and It's rating is | 5.png |  |  | ${SNCU_Ward_per}>90
end_group
calculate | overall_no | Score from each of the sections | [5 empty] | ${Gen_Sec_no}+${PNC_Ward_no}+${LR_no}+${OPD_no}+if(${paed} = "Yes",${Paed_Ward},0)+if(${ccc} = "Yes",${ccc_no},0)+if(${sncu} = "Yes",${SNCU_Ward},0)+if(${NRC} = "Yes",${NRC_Facility_no},0)
calculate | overall_max | Maximum possible score which we will use only to calculate the percentage. | [5 empty] | if(${paed} = "Yes",14,0) + if(${ccc}="Yes",15,0) + if(${sncu} = "Yes",14,0) + if(${NRC} = "Yes",8,0)+30+12+18+6
calculate | overall_per | Percentage calculation | [5 empty] | round(${overall_no}*100 div ${overall_max},1)
note | overall_per1 | OVER ALL is ${overall_per} % and It's rating is | 1.png |  |  | ${overall_per}<=40 |  |  |  | text | Designation | Designation: |  | true
note | overall_per2 | OVER ALL is ${overall_per} % and It's rating is | 2.png |  |  | ${overall_per}>40 and ${overall_per}<=60 |  |  |  | end_group
note | overall_per3 | OVER ALL is ${overall_per} % and It's rating is | 3.png |  |  | ${overall_per}>60 and ${overall_per}<=75 |  |  |  | image | Signature | Signature: | draw
note | overall_per4 | OVER ALL is ${overall_per} % and It's rating is | 4.png |  |  | ${overall_per}>75 and ${overall_per}<=90 |  |  |  | calculate | __version__ |  |  |  | 'vDnKZD2X4pQSfpqenXmHbM'
note | overall_per5 | OVER ALL is ${overall_per} % and It's rating is | 5.png |  |  | ${overall_per}>90 |  |  |  | calculate | _version_ |  |  |  | 'vZDv2BtK7pncBSnddnGzQZ' | __version__
text | Remarks | # Remarks : |  |  | true
begin_group | Details_of_Person_filling_the_observation_sheet | # Details of Person filling the observation sheet: |  | field-list
text | Name | Name: |  |  | true
text | Designation | Designation: |  |  | true
end_group
image | Signature | Signature: |  | draw
calculate | __version__ | [6 empty] | 'vDnKZD2X4pQSfpqenXmHbM'
calculate | _version_ | [6 empty] | 'vZDv2BtK7pncBSnddnGzQZ' | __version__

## choices
list_name | name | label | filter_list
level1_list | Alirajpur | Alirajpur
level1_list | Vidisha | Vidisha
level1_list | Guna | Guna
level1_list | Jhabua | Jhabua
level1_list | Indore | Indore
level1_list | Sheopur | Sheopur
level1_list | Shivpuri | Shivpuri
level1_list | Badwani | Badwani
level2_list | Alirajpur_1 | Alirajpur | Alirajpur
level2_list | Bhavra | Bhavra | Alirajpur
level2_list | Jobat | Jobat | Alirajpur
level2_list | Kattiwada | Kattiwada | Alirajpur
level2_list | Sondwa | Sondwa | Alirajpur
level2_list | Udaigarh | Udaigarh | Alirajpur
level2_list | Indore_1 | Indore | Indore
level2_list | Sawar | Sawar | Indore
level2_list | Hathod | Hathod | Indore
level2_list | Manpur | Manpur | Indore
level2_list | Depalpur | Depalpur | Indore
level2_list | Guna_1 | Guna | Guna
level2_list | Bamori | Bamori | Guna
level2_list | Aron | Aron | Guna
level2_list | Raghougarh | Raghougarh | Guna
level2_list | Chachoda | Chachoda | Guna
level2_list | Jhabua_1 | Petalwad | Jhabua
level2_list | Thandla | Thandla | Jhabua
level2_list | Meghnagar | Meghnagar | Jhabua
level2_list | Jhabua | Jhabua | Jhabua
level2_list | Rama | Rama | Jhabua
level2_list | Ranapur | Ranapur | Jhabua
level2_list | Vidisha_1 | Vidisha | Vidisha
level2_list | Basoda | Basoda | Vidisha
level2_list | Gyaraspur | Gyaraspur | Vidisha
level2_list | Kurwai | Kurwai | Vidisha
level2_list | Lateri | Lateri | Vidisha
level2_list | Shamsabad | Shamsabad | Vidisha
level2_list | Nateran | Nateran | Vidisha
level2_list | Sironj | Sironj | Vidisha
level2_list | Sheopur_1 | Baroda | Sheopur
level2_list | Karahal | Karahal | Sheopur
level2_list | Sheopur | Sheopur | Sheopur
level2_list | Vijaypur | Vijaypur | Sheopur
level2_list | Shivpuri_1 | Badarwas | Shivpuri
level2_list | Karera | Karera | Shivpuri
level2_list | Khaniyadhana | Khaniyadhana | Shivpuri
level2_list | Kolaras | Kolaras | Shivpuri
level2_list | Narwar | Narwar | Shivpuri
level2_list | Pichhore | Pichhore | Shivpuri
level2_list | Pohari | Pohari | Shivpuri
level2_list | Shivpuri | Shivpuri | Shivpuri
level2_list | Barwani_1 | Barwani | Barwani
level2_list | Pati | Pati | Barwani
level2_list | Silwad | Silwad | Barwani
level2_list | Pansemal | Pansemal | Barwani
level2_list | Nilwali | Nilwali | Barwani
level2_list | Sendhwa | Sendhwa | Barwani
level2_list | Rajpur | Rajpur | Barwani
level2_list | Thikari | Thikari | Barwani
level3_list | DH_Alirajpur | DH-Alirajpur | Alirajpur_1
level3_list | PHC_Ambua | PHC-Ambua | Alirajpur_1
level3_list | PHC_Nanpur | PHC-Nanpur | Alirajpur_1
level3_list | CHC _Bhavra | CHC -Bhavra | Alirajpur_1
level3_list | PHC_Burzer | PHC-Burzer | Alirajpur_1
level3_list | CHC_Jobat | CHC- Jobat | Alirajpur_1
level3_list | SHC_Kanwada | SHC-Kanwada | Alirajpur_1
level3_list | PHC_Khattali | PHC-Khattali | Alirajpur_1
level3_list | PHC_Amkhut | PHC-Amkhut | Alirajpur_1
level3_list | CHC_Katthiwada | CHC-Katthiwada | Alirajpur_1
level3_list | PHC_Sorwa | PHC-Sorwa | Alirajpur_1
level3_list | PHC_Bakhatgarth | PHC-Bakhatgarth | Alirajpur_1
level3_list | SHC_Chhaktala | SHC-Chhaktala | Alirajpur_1
level3_list | CHC_ Sondwa | CHC-Sondwa | Alirajpur_1
level3_list | PHC_Umrali | PHC-Umrali | Alirajpur_1
level3_list | PHC_Kanakakd | PHC-Kanakakd | Alirajpur_1
level3_list | CHC_ Udaigarh | CHC-Udaigarh | Alirajpur_1
level3_list | PHC_Bori | PHC-Bori | Alirajpur_1
level3_list | SHC_Dabdi | SHC-Dabdi | Alirajpur_1
level3_list | SHC_Badi Juari | SHC-Badi Juari | Alirajpur_1
level3_list | DH_Jhabua | DH_Jhabua | Jhabua_1
level3_list | PHC_Pitol | PHC- Pitol | Jhabua_1
level3_list | SHC_Amlipalia | SHC-Amlipalia | Jhabua_1
level3_list | CHC Kalyanapura | CHC- Kalyanapura | Jhabua_1
level3_list | PHC_ Raipuria | PHC- Raipuria | Jhabua_1
level3_list | PHC _Sarangi | PHC- Sarangi | Jhabua_1
level3_list | PHC_ Bekalda | PHC- Bekalda | Jhabua_1
level3_list | PHC_ Karwad | PHC- Karwad | Jhabua_1
level3_list | SHC_Unnai | SHC-Unnai | Jhabua_1
level3_list | PHC_ Jhaknawada | PHC- Jhaknawada | Jhabua_1
level3_list | PHC_ Bamaniya | PHC- Bamaniya | Jhabua_1
level3_list | CHC Petalwad | CHC- Petalwad | Jhabua_1
level3_list | PHC_ Khawasa | PHC- Khawasa | Jhabua_1
level3_list | PHC_ Kakanwani | PHC- Kakanwani | Jhabua_1
level3_list | CHC Thandla | CHC -Thandla | Jhabua_1
level3_list | SHC_Hatyadeli | SHC-Hatyadeli | Jhabua_1
level3_list | PHC_ Madrani | PHC- Madrani | Jhabua_1
level3_list | CHC Meghnagar | CHC- Meghnagar | Jhabua_1
level3_list | PHC_ Pithalpur | PHC- Pithalpur | Jhabua_1
level3_list | PHC_ Umarkot | PHC- Umarkot | Jhabua_1
level3_list | CHC Rama | CHC- Rama | Jhabua_1
level3_list | CHC Para | CHC- Para | Jhabua_1
level3_list | CHC Ranapur | CHC - Ranapur | Jhabua_1
level3_list | PHC_ Kanjawani | PHC- Kanjawani | Jhabua_1
level3_list | PHC_ Mordundiya | PHC- Mordundiya | Jhabua_1
level3_list | PHC_ Samoi | PHC -Samoi | Jhabua_1
level3_list | DH_Guna | DH_ Guna | Guna_1
level3_list | PHC_Markimahu | PHC - Markimahu | Guna_1
level3_list | PHC_Bhadora | PHC - Bhadora | Guna_1
level3_list | SHC_Pagara | SHC - Pagara | Guna_1
level3_list | CHC_Myana | CHC - Myana | Guna_1
level3_list | PHC_Bajrangrah | PHC - Bajrangrah | Guna_1
level3_list | PHC_Vishanwada | PHC - Vishanwada | Guna_1
level3_list | CHC_Bamori | CHC - Bamori | Guna_1
level3_list | PHC_Fatehgarh | PHC - Fatehgarh | Guna_1
level3_list | PHC_Panwadi_hat | PHC - Panwadi hat | Guna_1
level3_list | Civil_Hospital_Aron | Civil Hospital Aron | Guna_1
level3_list | PHC_Jamner | PHC - Jamner | Guna_1
level3_list | PHC_Madhusudangarh | PHC - Madhusudangarh | Guna_1
level3_list | CHC_Raghogarh | CHC - Raghogarh | Guna_1
level3_list | PHC_Ruthiyai | PHC - Ruthiyai | Guna_1
level3_list | PHC_Mrigwas | PHC - Mrigwas | Guna_1
level3_list | PHC_Chachoda | PHC - Chachoda | Guna_1
level3_list | CHC_Binaganj | CHC Binaganj | Guna_1
level3_list | CHC_Kumbhraj | CHC - Kumbhraj | Guna_1
level3_list | DH_Vidisha | DH - Vidisha | Vidisha_1
level3_list | CHC_Pipalkheda | CHC - Pipalkheda | Vidisha_1
level3_list | PHC_Ahmadpur | PHC - Ahmadpur | Vidisha_1
level3_list | CHC_Tyonda | CHC - Tyonda | Vidisha_1
level3_list | CH_Basoda | CH - Basoda | Vidisha_1
level3_list | CHC_Gyaraspur | CHC - Gyaraspur | Vidisha_1
level3_list | PHC_Gulabganj | PHC - Gulabganj | Vidisha_1
level3_list | PHC_Haidarghar | PHC - Haidarghar | Vidisha_1
level3_list | CHC_Kurwai | CHC - Kurwai | Vidisha_1
level3_list | PHC_Barvai | PHC - Barvai | Vidisha_1
level3_list | PHC_Layara | PHC - Layara | Vidisha_1
level3_list | CHC_Lateri | CHC - Lateri | Vidisha_1
level3_list | CHC_Shamshabad | CHC - Shamshabad | Vidisha_1
level3_list | CHC_Nateran | CHC - Nateran | Vidisha_1
level3_list | PHC_Barkhedajager | PHC - Barkhedajager | Vidisha_1
level3_list | PHC_Mahu | PHC - Mahu | Vidisha_1
level3_list | CH_Sironj | CH - Sironj | Vidisha_1
level3_list | PHC_Garetha | PHC - Garetha | Vidisha_1
level3_list | PHC_Kaswatal | PHC - Kaswatal | Vidisha_1
level3_list | DH_Indore | DH - Indore | Indore_1
level3_list | CH_PC Sethi | CH - PC Sethi | Indore_1
level3_list | City_CHC_Badganga | City CHC - Badganga | Indore_1
level3_list | Malharganj_PolyClinic | Malharganj - PolyClinic | Indore_1
level3_list | Nanda_Nagar_Metenity_Home | Nanda Nagar - Metenity Home | Indore_1
level3_list | UPHC_Bilochi_Hapsi | UPHC - Bilochi Hapsi | Indore_1
level3_list | Mangilal_Churiya_Hospital | Mangilal Churiya - Hospital | Indore_1
level3_list | CHC_Sawer_Block | CHC - Sawer Block | Indore_1
level3_list | PHC_Shipra | PHC - Shipra | Indore_1
level3_list | PHC_Chadrawati | PHC Chadrawati | Indore_1
level3_list | PHC_Paliya | PHC - Paliya | Indore_1
level3_list | PHC_Hathod | PHC - Hathod | Indore_1
level3_list | PHC_Tilor Kudra | PHC - Tilor Kudra | Indore_1
level3_list | PHC_Cample | PHC - Cample | Indore_1
level3_list | SHC_Agara | SHC - Agara | Indore_1
level3_list | SHC_Kalariya | SHC - Kalariya | Indore_1
level3_list | CHC_Manpurr | CHC - Manpurr | Indore_1
level3_list | PHC_Hasalpur | PHC - Hasalpur | Indore_1
level3_list | PHC_Simrol | PHC - Simrol | Indore_1
level3_list | CH_Mhow | CH - Mhow | Indore_1
level3_list | CHC_Depalpur | CHC - Depalpur | Indore_1
level3_list | PHC_Goutampura | PHC - Goutampura | Indore_1
level3_list | CHC_Betma | CHC - Betma | Indore_1
level3_list | PHC_Attehra | PHC - Attehra | Indore_1
level3_list | DH_Badwani | DH - Badwani | Badwani_1
level3_list | CHC_Pati | CHC - Pati | Badwani_1
level3_list | PHC_Gandhwa | PHC - Gandhwa | Badwani_1
level3_list | PHC_Bokrata | PHC - Bokrata | Badwani_1
level3_list | PHC_Rosar | PHC - Rosar | Badwani_1
level3_list | CHC_Silwad | CHC - Silwad | Badwani_1
level3_list | PHC_Talwad | PHC - Talwad | Badwani_1
level3_list | PHC_Bhawti | PHC - Bhawti | Badwani_1
level3_list | PHC_Manimata | PHC - Manimata | Badwani_1
level3_list | CHC_Pansemal | CHC - Pansemal | Badwani_1
level3_list | PHC_Rakhi_Bujurg | PHC - Rakhi Bujurg | Badwani_1
level3_list | PHC_Ketia | PHC - Ketia | Badwani_1
level3_list | PHC_Moida | PHC - Moida | Badwani_1
level3_list | CHC_Niwali | CHC - Niwali | Badwani_1
level3_list | PHC_Jogwada | PHC - Jogwada | Badwani_1
level3_list | PHC_Chatli | PHC - Chatli | Badwani_1
level3_list | CH_Sendhwa | CH - Sendhwa | Badwani_1
level3_list | PHC_Babdad | PHC - Babdad | Badwani_1
level3_list | PHC_Dhawli | PHC - Dhawli | Badwani_1
level3_list | CHC_Warla | CHC - Warla | Badwani_1
level3_list | PHC_Balwadi | PHC - Balwadi | Badwani_1
level3_list | PHC_Dhanora | PHC - Dhanora | Badwani_1
level3_list | PHC_Chachriya | PHC - Chachriya | Badwani_1
level3_list | PHC_Jhopali | PHC - Jhopali | Badwani_1
level3_list | CHC_Rajpur | CHC - Rajpur | Badwani_1
level3_list | PHC_Upla | PHC - Upla | Badwani_1
level3_list | PHC_Indrapur | PHC - Indrapur | Badwani_1
level3_list | PHC_Julwaniya | PHC - Julwaniya | Badwani_1
level3_list | PHC_Ojhar | PHC - Ojhar | Badwani_1
level3_list | CHC_Palsad | CHC - Palsad | Badwani_1
level3_list | PHC_Nagalwadi | PHC - Nagalwadi | Badwani_1
level3_list | CHC_Thikari | CHC - Thikari | Badwani_1
level3_list | PHC_Anjad | PHC - Anjad | Badwani_1
level3_list | PHC_Barufatak | PHC - Barufatak | Badwani_1
level3_list | PHC_Dawana | PHC - Dawana | Badwani_1
level3_list | PHC_Talwada_Deb | PHC - Talwada Deb | Badwani_1
level3_list | DH_Sheopur | DH_Sheopur | Sheopur_1
level3_list | CHC_Baroda | CHC - Baroda | Sheopur_1
level3_list | PHC_Datarda | PHC - Datarda | Sheopur_1
level3_list | PHC_Dohdar | PHC - Dohdar | Sheopur_1
level3_list | PHC_Durgapuri | PHC - Durgapuri | Sheopur_1
level3_list | CHC_Karahal | CHC - Karahal | Sheopur_1
level3_list | SHC_Goras | SHC - Goras | Sheopur_1
level3_list | PHC_Bargama | PHC - Bargama | Sheopur_1
level3_list | CHC_Vijaypur | CHC Vijaypur | Sheopur_1
level3_list | PHC_Veerpur | PHC - Veerpur | Sheopur_1
level3_list | PHC_Agra | PHC- Agra | Sheopur_1
level3_list | PHC_Saheshram | PHC - Saheshram | Sheopur_1
level3_list | DH_Shivpuri | DH- Shivpuri | Shivpuri_1
level3_list | CHC_Satanwara | CHC- Satanwara | Shivpuri_1
level3_list | SHC_Muderi | SHC-Muderi | Shivpuri_1
level3_list | SHC_Surwaya | SHC- Surwaya | Shivpuri_1
level3_list | CHC_Karera | CHC -Karera | Shivpuri_1
level3_list | PHC_Sirsod | PHC- Sirsod | Shivpuri_1
level3_list | PHC_Dinara | PHC - Dinara | Shivpuri_1
level3_list | PHC_Amolpata | PHC - Amolpata | Shivpuri_1
level3_list | CHC_Picchore | CHC- Pichore | Shivpuri_1
level3_list | PHC_Manpura | PHC - Manpura | Shivpuri_1
level3_list | PHC_Khod | PHC - Khod | Shivpuri_1
level3_list | CHC_Narwar | CHC- Narwar | Shivpuri_1
level3_list | PHC_Magroni | PHC- Magroni | Shivpuri_1
level3_list | SHC_Karhi | SHC- Karhi | Shivpuri_1
level3_list | CHC_Badarwas | CHC- Badarwas | Shivpuri_1
level3_list | PHC_Rannod | PHC- Rannod | Shivpuri_1
level3_list | PHC_Khatora | PHC- Khatora | Shivpuri_1
level3_list | CHC_Pohari | CHC- Pohari | Shivpuri_1
level3_list | SHC_Chharch | PHC- Chharch | Shivpuri_1
level3_list | PHC_Bairad | PHC- Bairad | Shivpuri_1
level3_list | CHC_Kolaras | CHC- Kolaras | Shivpuri_1
level3_list | PHC_Lukwasa | PHC-Lukwasa | Shivpuri_1
level3_list | CHC_Khaniyadhana | CHC- Khaniyadhana | Shivpuri_1
level3_list | PHC_Bamor_kala | PHC-Bamor kala | Shivpuri_1
level3_list | PHC_Mohari | PHC - Mohari | Shivpuri_1
level3_list | SC_Budonrajapur | SHC- Budonrajapur | Shivpuri_1
yes_no | 0 | 0 = Yes
yes_no | 1 | 1 = No
type | PHC | PHC
type | CHC | CHC
type | SDH | SDH
type | DH | DH
type | NRC | NRC
type | Paediatric_Ward | Paediatric_Ward
type | SNCU | SNCU
yes | Yes | Yes
yes | No | No

## settings
id_string | version
whnrc | vZDv2BtK7pncBSnddnGzQZ

## Changes
Following changes made since the last version:
Calculations fixed so that they all total to 100% - worth doing some testing on this on your side as well to mae sure its as you need
Calculations checked against your scoring table (Labour room section is not the same questions but I imagine that is a deliberate change)
Calculations all done in a standard way (no more multiplying by decimals or unrounded percentages)
Required setting added where missing (questions like NRC exists)
Use of groups updated to prevent notes appearing for optional groups which the user didnt select