## survey
type | name | label | media::image | appearance | required | relevant | choice_filter | calculation | $given_name
start | start
end | end
today | today
deviceid | deviceid
note | WASH_Grading_of_Health_care_facility_and_NRC |  | form_logo.png
begin_group | date_group | Date |  | field-list
datetime | system_date | Date of Visit |  | no-calendar
select_one yes_no | system_date_check | Is this date and time correct? |  |  | true
end_group | date_group
datetime | manual_date | Record the correct date and time. |  | no-calendar | true | (${system_date_check}='1')
select_one level1_list | level1 | District |  |  | true
select_one level2_list | level2 | Block |  |  | true |  | filter_list=${level1}
select_one level3_list | level3 | Facility Name |  |  | true |  | filter_list=${level2}
geopoint | gps | GPS Location :(Collect GPS coordinates and record location when the accuracy is smaller than 5 m.)
note | General_Section |  | logo2.png
begin_group | Water_supply_General | Water supply |  | field-list
select_one yes_no | Improved_water_supply_source | 1.Improved water supply source (piped/bore hole/protected well) not available. |  |  | true
select_one yes_no | Insufficient_water_supply | 2. Insufficient water supply (Low pressure / less quantity/ Irregular/ seasonal/Inadequate storage). |  |  | true
select_one yes_no | Supply_line_passing_through_drains | 3. Supply line passing through drains/ sewers/ unsanitary conditions/ or bore hole near unsanitary conditions, leakage pipeline |  |  | true
end_group
begin_group | Water_Quality | Water Quality |  | field-list
select_one yes_no | Irregular_water_testing | 1. Irregular water testing (bacteriological testing not conducted on quaterly basis) |  |  | true
select_one yes_no | H2S_strip_test_positive | 2. H2S strip test positive within 36 to 48 hours (collect sample and report) |  |  | true
select_one yes_no | Chlorinition_not_done | 3. Chlorinition is not done by ensuring residual free chlorine of ≥0.2 Part per Million (PPM)/Litre regularly (Only if treatd water is not available). |  |  | true
end_group
begin_group | Water_Storage | Water Storage |  | field-list
select_one yes_no | water_storage_tank_not_available | 1. Water storage tank not available (Overhead/under ground) |  |  | true
select_one yes_no | water_tank_inadequately_sealed | 2. Water tank Inadequately sealed /covered / leaking? |  |  | true
select_one yes_no | poor_cleaning_schedule | 3. Poor cleaning schedule? (Cleaning frequency is less than twice a year) |  |  | true
select_one yes_no | records_tank_cleaning_not_avaialble | 4.previous Records and date of cleaning with respect to tank cleaning is not avaialble in the health facility. |  |  | true
end_group
begin_group | Drinking_water_treatment | Drinking water treatment |  | field-list
select_one yes_no | drinking_water_treatment_at_point_of_use | 1. Treatment not available at point of use / non functional treatment unit |  |  | true
select_one yes_no | unsanitary_condition | 2. Unsanitary condition /Poor cleaning system? |  |  | true
select_one yes_no | maintainance_treatment_unit_not_done | 3. Annual Manitenance Contract (AMC) of the Treatment Unit is not done in the health facility |  |  | true
end_group
calculate | water_no | [6 empty] | ${Improved_water_supply_source}+${Insufficient_water_supply}+${Supply_line_passing_through_drains}+${Irregular_water_testing}+${H2S_strip_test_positive}+${water_storage_tank_not_available}+${water_tank_inadequately_sealed}+${poor_cleaning_schedule}+${records_tank_cleaning_not_avaialble}+${drinking_water_treatment_at_point_of_use}+${unsanitary_condition}+${maintainance_treatment_unit_not_done}+${Chlorinition_not_done}
calculate | water_per | [6 empty] | ${water_no}*7.692307692
note | water_per1 | Sub total of Water Section is ${water_per} % and It's rating is | 1.png |  |  | ${water_per}<=40
note | water_per2 | Sub total of Water Section is ${water_per} % and It's rating is | 2.png |  |  | ${water_per}>40 and ${water_per}<=60
note | water_per3 | Sub total of Water Section is ${water_per} % and It's rating is | 3.png |  |  | ${water_per}>60 and ${water_per}<=75
note | water_per4 | Sub total of Water Section is ${water_per} % and It's rating is | 4.png |  |  | ${water_per}>75 and ${water_per}<=90
note | water_per5 | Sub total of Water Section is ${water_per} % and It's rating is | 5.png |  |  | ${water_per}>90
note | Toilet_facilities_excreta_disposal_and_O_M |  | logo3.png
begin_group | toilet_facility_1 | Toilet facility |  | field-list
select_one yes_no | Excreta_disposal | 1. Excreta disposal system (Pipes/chambers/septic tanks) non functional/ blocked/ overflowing / Broken |  |  | true
select_one yes_no | Unsafe_disposal_of_excreta | 2. Unsafe disposal of excreta by untrained staffs |  |  | true
end_group
begin_group | toilet_cleaning_and_oandm | Toilet cleaning and O&M |  | field-list
select_one yes_no | Trained_sanitation_worker_not_available | 1. Trained sanitation worker is not available for toilet cleaning |  |  | true
select_one yes_no | Poor_routine_cleaning_schedule | 2. Poor routine cleaning schedule (at least thrice a day not done) |  |  | true
select_one yes_no | separate_mops_and_accessories_for_cleaning_toilet | 3. Separate mops and other accessories are not available for cleaning of toilet in each department |  |  | true
end_group
calculate | Toilet_no | [6 empty] | ${Excreta_disposal}+${Unsafe_disposal_of_excreta}+${Trained_sanitation_worker_not_available}+${Poor_routine_cleaning_schedule}+${separate_mops_and_accessories_for_cleaning_toilet}
calculate | Toilet_per | [6 empty] | ${Toilet_no}*20.0
note | Toilet_per1 | Sub total of Toilet Facility Section is ${Toilet_per} % and It's rating is | 1.png |  |  | ${Toilet_per}<=40
note | Toilet_per2 | Sub total of Toilet Facility Section is ${Toilet_per} % and It's rating is | 2.png |  |  | ${Toilet_per}>40 and ${Toilet_per}<=60
note | Toilet_per3 | Sub total of Toilet Facility Section is ${Toilet_per} % and It's rating is | 3.png |  |  | ${Toilet_per}>60 and ${Toilet_per}<=75
note | Toilet_per4 | Sub total of Toilet Facility Section is ${Toilet_per} % and It's rating is | 4.png |  |  | ${Toilet_per}>75 and ${Toilet_per}<=90
note | Toilet_per5 | Sub total of Toilet Facility Section is ${Toilet_per} % and It's rating is | 5.png |  |  | ${Toilet_per}>90
note | Overall_cleaning_infection_prevention_control |  | logo4.png
begin_group | Infection_preventation_control_1 | Infection preventation control |  | field-list
select_one yes_no | Floors_or_surfaces_visibly_dirty | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids |  |  | true
select_one yes_no | Lack_of_hand_washing_practice | 2.Lack of practice of handwasing in staff before and after a shift |  |  | true
select_one yes_no | Absence_of_posters | 3. Absence of posters reminding staff of correct clinical hand washing procedure |  |  | true
select_one yes_no | Absence_of_disposable_gloves_for_invasive_procedures | 4. Absence of disposable gloves for invasive procedures, contact with sterile sites or activities assessed as carrying a risk of exposure to blood, body fluids, secretions or excretions, or to sharp or contaminated instruments? |  |  | true
select_one yes_no | Absence_of_cleaning_schedule | 5. Absence of clear cleaning schedule and frequencies for different facility zones, surfaces and fittings |  |  | true
end_group
calculate | ipc_no | [6 empty] | ${Floors_or_surfaces_visibly_dirty}+${Lack_of_hand_washing_practice}+${Absence_of_posters}+${Absence_of_disposable_gloves_for_invasive_procedures}+${Absence_of_cleaning_schedule}
calculate | ipc_per | [6 empty] | ${ipc_no}*20.0
note | ipc_per1 | Sub total of Infection prevention control-section is ${ipc_per} % and It's rating is | 1.png |  |  | ${ipc_per}<=40
note | ipc_per2 | Sub total of Infection prevention control-section is ${ipc_per} % and It's rating is | 2.png |  |  | ${ipc_per}>40 and ${ipc_per}<=60
note | ipc_per3 | Sub total of Infection prevention control-section is ${ipc_per} % and It's rating is | 3.png |  |  | ${ipc_per}>60 and ${ipc_per}<=75
note | ipc_per4 | Sub total of Infection prevention control-section is ${ipc_per} % and It's rating is | 4.png |  |  | ${ipc_per}>75 and ${ipc_per}<=90
note | ipc_per5 | Sub total of Infection prevention control-section is ${ipc_per} % and It's rating is | 5.png |  |  | ${ipc_per}>90
note | Hospital_Waste_management |  | logo5.png
begin_group | Hospital_Waste_management_1 | Hospital Waste management |  | field-list
select_one yes_no | Lack_of_hub_cutter | 1. Lack of hub cutter/ niddle destroyer |  |  | true
select_one yes_no | Ctf_facility | 2. No CTF connectivity or irregular collection from CTF |  |  | true
select_one yes_no | Insufficient_number_of_Waste_containers | 3. Insufficient number of Waste containers in the health facility |  |  | true
select_one yes_no | Lack_of_personal_protective_equipment | 4. Lack of personal protective equipment in the Health Facility |  |  | true
select_one yes_no | Deep_burial_pit_unavailable | 5. Deep burial pit unavailable for placenta/ infectious bio medical & sharp waste |  |  | true
select_one yes_no | Waste_dumping_or_burning_open_air | 6. Open air dumping of waste/ Dumping and burning open air |  |  | true
select_one yes_no | Waste_pits_not_properly_secured | 7. Waste pits not properly secured (visibly cracked / broken / leaking/lack of cover/broken cover) |  |  | true
end_group
calculate | hwm_no | [6 empty] | ${Lack_of_hub_cutter}+${Ctf_facility}+${Insufficient_number_of_Waste_containers}+${Lack_of_personal_protective_equipment}+${Deep_burial_pit_unavailable}+${Waste_dumping_or_burning_open_air}+${Waste_pits_not_properly_secured}
calculate | hwm_per | [6 empty] | ${hwm_no}*14.28571428
note | hwm_per1 | Sub total of Hospital waste management-section is ${hwm_per} % and It's rating is | 1.png |  |  | ${hwm_per}<=40
note | hwm_per2 | Sub total of Hospital waste management-section is ${hwm_per} % and It's rating is | 2.png |  |  | ${hwm_per}>40 and ${hwm_per}<=60
note | hwm_per3 | Sub total of Hospital waste management-section is ${hwm_per} % and It's rating is | 3.png |  |  | ${hwm_per}>60 and ${hwm_per}<=75
note | hwm_per4 | Sub total of Hospital waste management-section is ${hwm_per} % and It's rating is | 4.png |  |  | ${hwm_per}>75 and ${hwm_per}<=90
note | hwm_per5 | Sub total of Hospital waste management-section is ${hwm_per} % and It's rating is | 5.png |  |  | ${hwm_per}>90
calculate | Gen_Sec_no | [6 empty] | ${Improved_water_supply_source}+${Insufficient_water_supply}+${Supply_line_passing_through_drains}+${Irregular_water_testing}+${H2S_strip_test_positive}+${water_storage_tank_not_available}+${water_tank_inadequately_sealed}+${poor_cleaning_schedule}+${records_tank_cleaning_not_avaialble}+${drinking_water_treatment_at_point_of_use}+${unsanitary_condition}+${maintainance_treatment_unit_not_done}+${Excreta_disposal}+${Unsafe_disposal_of_excreta}+${Trained_sanitation_worker_not_available}+${Poor_routine_cleaning_schedule}+${separate_mops_and_accessories_for_cleaning_toilet}+${Floors_or_surfaces_visibly_dirty}+${Lack_of_hand_washing_practice}+${Absence_of_posters}+${Absence_of_disposable_gloves_for_invasive_procedures}+${Absence_of_cleaning_schedule}+${Floors_or_surfaces_visibly_dirty}+${Lack_of_hand_washing_practice}+${Absence_of_posters}+${Absence_of_disposable_gloves_for_invasive_procedures}+${Absence_of_cleaning_schedule}+${Lack_of_hub_cutter}+${Ctf_facility}+${Insufficient_number_of_Waste_containers}+${Lack_of_personal_protective_equipment}+${Deep_burial_pit_unavailable}+${Waste_dumping_or_burning_open_air}+${Waste_pits_not_properly_secured}
calculate | Gen_Sec_per | [6 empty] | ${Gen_Sec_no}*3.03030303
note | Gen_Sec_per1 | Sub total of General section and its equipments is ${Gen_Sec_per} % and It's rating is | 1.png |  |  | ${Gen_Sec_per}<=40
note | Gen_Sec_per2 | Sub total of General section and its equipments is ${Gen_Sec_per} % and It's rating is | 2.png |  |  | ${Gen_Sec_per}>40 and ${Gen_Sec_per}<=60
note | Gen_Sec_per3 | Sub total of General section and its equipments is ${Gen_Sec_per} % and It's rating is | 3.png |  |  | ${Gen_Sec_per}>60 and ${Gen_Sec_per}<=75
note | Gen_Sec_per4 | Sub total of General section and its equipments is${Gen_Sec_per} % and It's rating is | 4.png |  |  | ${Gen_Sec_per}>75 and ${Gen_Sec_per}<=90
note | Gen_Sec_per5 | Sub total of General section and its equipments is ${Gen_Sec_per} % and It's rating is | 5.png |  |  | ${Gen_Sec_per}>90
note | Area_1_Post_natal_care_unit | Area: 1. Post natal care unit | logo 6.png
image | image_PNC | PNCU:(Take a picture or upload an image file)
begin_group | Drinking_water_PNC | Drinking water |  | field-list
select_one yes_no | Lack_of_drinking_water_point | 1. Lack of treated drinking water point (No functional drinking water tap in/near the ward) |  |  | true
end_group
begin_group | Toilet_facility_PNC | Toilet facility |  | field-list
select_one yes_no | Dedicated_toilet_block_not_available | 1. Dedicated toilet block not available for PNCU |  |  | true
select_one yes_no | Toilet_block_non_functional | 2. Toilet block non functional/ broken/un clean/ chocked |  |  | true
select_one yes_no | Lack_of_24_7_adequate_quantity_of_water | 3. Lack of 24x7 adequate quantity of water availability for toilet use |  |  | true
select_one yes_no | Lack_of_handwashing_station_pnc | 4. Lack of handwashing station with/near toilet |  |  | true
select_one yes_no | Lack_of_client_handwashing_practices_pnc | 5. Lack of client handwashing practices with soap/liquid soap |  |  | true
end_group
begin_group | Hand_washing_PNCU_Ward | Hand washing |  | field-list
select_one yes_no | Lack_of_functional_hand_washing_station_pnc | 1. Lack of functional hand washing station for clinical hand wash with 24x7 running water |  |  | true
select_one yes_no | Lack_of_hand_washing_practices | 2. Lack of hand washing practices by service provider (to be observed in PNC Ward) |  |  | true
end_group
begin_group | Bio_Medical_Waste_Management_PNC_Ward | Bio Medical Waste Management |  | field-list
select_one yes_no | Lack_of_colour_coded_bins | 1.Lack of biomedical colour coded bins in PNCU for waste segregation |  |  | true
select_one yes_no | Regular_cleaning_bio_medical__waste | 2.Biomedical wastes are cleaned regularly thrice a day |  |  | true
select_one yes_no | Lack_of_correct_use_of_colour_coded_bins | 3. Lack of correct use of colour coded bins |  |  | true
end_group
begin_group | Over_all_Cleaning | Over all Cleaning
select_one yes_no | Floors_or_health_care_surfaces | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids? (to be rated based on observations in PNCU only) |  |  | true
end_group
calculate | PNC_Ward_no | [6 empty] | ${Lack_of_drinking_water_point}+${Dedicated_toilet_block_not_available}+${Toilet_block_non_functional}+${Lack_of_24_7_adequate_quantity_of_water}+${Lack_of_handwashing_station_pnc}+${Lack_of_client_handwashing_practices_pnc}+${Lack_of_functional_hand_washing_station_pnc}+${Lack_of_hand_washing_practices}+${Lack_of_colour_coded_bins}+${Regular_cleaning_bio_medical__waste}+${Lack_of_correct_use_of_colour_coded_bins}+${Floors_or_health_care_surfaces}
calculate | PNC_Ward_per | [6 empty] | ${PNC_Ward_no}*8.333
note | PNC_Ward_per1 | Sub total of Post natal ward-section is ${PNC_Ward_per} % and It's rating is | 1.png |  |  | ${PNC_Ward_per}<=40
note | PNC_Ward_per2 | Sub total of Post natal ward-section is ${PNC_Ward_per} % and It's rating is | 2.png |  |  | ${PNC_Ward_per}>40 and ${PNC_Ward_per}<=60
note | PNC_Ward_per3 | Sub total of Post natal ward-section is ${PNC_Ward_per} % and It's rating is | 3.png |  |  | ${PNC_Ward_per}>60 and ${PNC_Ward_per}<=75
note | PNC_Ward_per4 | Sub total of Post natal ward-section is ${PNC_Ward_per} % and It's rating is | 4.png |  |  | ${PNC_Ward_per}>75 and ${PNC_Ward_per}<=90
note | PNC_Ward_per5 | Sub total of Post natal ward-section is ${PNC_Ward_per} % and It's rating is | 5.png |  |  | ${PNC_Ward_per}>90
note | Area_2_Labor_room | Area:2. Labor Room | logo7.png
image | image_LR | Labor Room:(Take a picture or upload an image file)
begin_group | Drinking_water_point_Labor_Room | Drinking water point |  | field-list
select_one yes_no | Lack_of_treated_drinking_water_point | 1. Lack of treated drinking water point in or near Labour Room? |  |  | true
select_one yes_no | Available_treated_drinking_water | 2. Point of use water treatment not available |  |  | true
end_group
begin_group | Toilet_facility_Labor_Room | Toilet facility |  | field-list
select_one yes_no | Toilet_not_attached_with_labour_room_LR | 1. Toilet not attached with labour room? |  |  | true
select_one yes_no | Inaccessible_toilet_locked_LR | 2. Inaccessible toilet ? (locked) |  |  | true
select_one yes_no | Toiilet_block_unsanitory_condition | 3. Toilet block unsanitary (excreta on toilet surface, or inside cubicle / flooded). |  |  | true
select_one yes_no | Lack_of_cleaning_equipment | 4. Lack of dedicated cleaning equipment (buckets / mops, brushes, detergent etc.) |  |  | true
select_one yes_no | Non_functional_hand_washing_station | 5. Lack of functional hand washing station with toilet |  |  | true
select_one yes_no | Inappropriate_design_for_pregnant_ladies_disabled | 6. Inappropriate design for pregnant ladies/ disabled) |  |  | true
select_one yes_no | Availability_of_adequate_quantity_water | 7. Lack of 24x7 adequate quantity of water availability for toilet use/adequate operation |  |  | true
select_one yes_no | Handwashing_practices | 8. Lack of client handwashing practices with soap/liquid soap |  |  | true
end_group
begin_group | Hand_washing_station_LR | Hand washing station |  | field-list
select_one yes_no | Lack_of_functional_hand_washing_station_LR | 1.Lack of functional hand washing station for clinical hand wash with 24x7 running water (Running water, soap, 70 % alochl based Sanitizer) |  |  | true
select_one yes_no | Absence_of_Elbow_Tap_LR | 2. Absence of Elbow Tap not at hand washing station |  |  | true
select_one yes_no | Absence_of_Soap | 3. Absence of Soap/Liquid soap/Alcohol hand rub |  |  | true
select_one yes_no | Absence_of_sterile_towel_LR | 4. Absence of sterile towel / Tissue / Blow Dry |  |  | true
select_one yes_no | Lack_of_hand_washing_practices_LR | 5. Lack of hand washing practices by service provider (to be observed in LR) |  |  | true
end_group
begin_group | Bio_Medical_Waste_Management_LR | Bio Medical Waste Management |  | field-list
select_one yes_no | Lack_of_colour_coded_bins_LR | 1. Lack of colour coded bins in labour room for waste segregation |  |  | true
select_one yes_no | Lack_of_correct_use_of_colour_coded_bins_LR | 2. Lack of correct use of colour coded bins |  |  | true
end_group
begin_group | Over_all_Cleaning_LR | Over all Cleaning
select_one yes_no | Floor_Healthcaresurfaces_dirty | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids? (to be rated based on observations in LR only) |  |  | true
end_group
calculate | LR_no | [6 empty] | ${Lack_of_treated_drinking_water_point}+${Available_treated_drinking_water}+${Toilet_not_attached_with_labour_room_LR}+${Inaccessible_toilet_locked_LR}+${Toiilet_block_unsanitory_condition}+${Lack_of_cleaning_equipment}+${Non_functional_hand_washing_station}+${Inappropriate_design_for_pregnant_ladies_disabled}+${Availability_of_adequate_quantity_water}+${Handwashing_practices}+${Lack_of_functional_hand_washing_station_LR}+${Absence_of_Elbow_Tap_LR}+${Absence_of_Soap}+${Absence_of_sterile_towel_LR}+${Lack_of_hand_washing_practices_LR}+${Lack_of_colour_coded_bins_LR}+${Lack_of_correct_use_of_colour_coded_bins_LR}+${Floor_Healthcaresurfaces_dirty}
calculate | LR_per | [6 empty] | ${LR_no}*5.555
note | LR_per1 | Sub total of Labour room-section is ${LR_per} % and It's rating is | 1.png |  |  | ${LR_per}<=40
note | LR_per2 | Sub total of Labour room-section is ${LR_per} % and It's rating is | 2.png |  |  | ${LR_per}>40 and ${LR_per}<=60
note | LR_per3 | Sub total of Labour room-section is ${LR_per} % and It's rating is | 3.png |  |  | ${LR_per}>60 and ${LR_per}<=75
note | LR_per4 | Sub total of Labour room-section is ${LR_per} % and It's rating is | 4.png |  |  | ${LR_per}>75 and ${LR_per}<=90
note | LR_per5 | Sub total of Labour room-section is ${LR_per} % and It's rating is | 5.png |  |  | ${LR_per}>90
note | Area_3_OutDoor_Patient_Deparment | Area:4. OutDoor Patient Deparment | logo8.png
image | image_OPD | OutDoor Patient Deparment:(Take a picture or upload an image file)
begin_group | Drinking_water_point_OPD | Drinking water point |  | field-list
select_one yes_no | Lack_of_drinking_water_point_OPD | 1. Lack of drinking water point (No functional drinking water tap in 15m the ward) |  |  | true
select_one yes_no | Point_of_use_water_treatment_not_available_OPD | 2. Point of use water treatment not available? |  |  | true
end_group
begin_group | Toilet_facility_for_OPD_patients | Toilet facility for OPD patients |  | field-list
select_one yes_no | Toilet_block_non_functional_broken_or_No_toilet_facility_available_OPD | 1. Toilet block non functional/ broken or No toilet facility available |  |  | true
select_one yes_no | Lack_of_functional_hand_washing_station_with_toilet_block_OPD | 2. Lack of functional hand washing station with toilet block |  |  | true
end_group
begin_group | Hand_washing_OPD | Hand washing |  | field-list
select_one yes_no | Lack_of_functional_hand_washing_station_and_soap_OPD | 1. Lack of functional hand washing station for Clinical Hand wash? (No 24X7 onsite water available / No Elbow Tap / No Alcohol rub / No soap or liquid soap available)? |  |  | true
end_group
begin_group | Overall_cleaning_OPD | Overall Cleaning |  | field-list
select_one yes_no | Floors_surface_visibly_dirty | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids? (to be rated based on observations in OPD only) |  |  | true
end_group
calculate | OPD_no | [6 empty] | ${Lack_of_drinking_water_point_OPD}+${Point_of_use_water_treatment_not_available_OPD}+${Toilet_block_non_functional_broken_or_No_toilet_facility_available_OPD}+${Lack_of_functional_hand_washing_station_with_toilet_block_OPD}+${Lack_of_functional_hand_washing_station_and_soap_OPD}+${Floors_surface_visibly_dirty}
calculate | OPD_per | [6 empty] | ${OPD_no}*16.66667
note | OPD_per1 | Sub total of Out patient deprtment-section is ${OPD_per} % and It's rating is | 1.png |  |  | ${OPD_per}<=40
note | OPD_per2 | Sub total of Out patient deprtment-section is ${OPD_per} % and It's rating is | 2.png |  |  | ${OPD_per}>40 and ${OPD_per}<=60
note | OPD_per3 | Sub total of Out patient deprtment-section is ${OPD_per} % and It's rating is | 3.png |  |  | ${OPD_per}>60 and ${OPD_per}<=75
note | OPD_per4 | Sub total of Out patient deprtment-section is ${OPD_per} % and It's rating is | 4.png |  |  | ${OPD_per}>75 and ${OPD_per}<=90
note | OPD_per5 | Sub total of Out patient deprtment-section is ${OPD_per} % and It's rating is | 5.png |  |  | ${OPD_per}>90
select_one yes | NRC | NRC Exists at the Institution:
note | Area_4_Nutritional_Rehabilitation_Center | Area: 4. Nutritional Rehabilitation Centre (NRC) exists at the Institutions | logo9.png |  |  | ${NRC}="Yes"
begin_group | Drinking_water_point_NRC | Drinking water point |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Lack_of_drinking_water_point_No_functional_drinking_water_tap_in_15m_the_ward_NRC | 1. Lack of drinking water point (No functional drinking water tap in 15m the ward) |  |  | true
select_one yes_no | Point_of_use_water_treatment_not_available_NRC | 2. Point of use water treatment not available? |  |  | true
end_group
calculate | Drinking_water_point_NRC_no | [6 empty] | ${Lack_of_drinking_water_point_No_functional_drinking_water_tap_in_15m_the_ward_NRC}+${Point_of_use_water_treatment_not_available_NRC}
calculate | Drinking_water_point_NRC_per | [6 empty] | ${Drinking_water_point_NRC_no}*50
note | Drinking_water_point_NRC_per1 | Sub total of Sub total of Water Section is ${Drinking_water_point_NRC_per} % and It's rating is | 1.png |  |  | ${Drinking_water_point_NRC_per}<=40
note | Drinking_water_point_NRC_per2 | Sub total of Sub total of Water Section is ${Drinking_water_point_NRC_per} % and It's rating is | 2.png |  |  | ${Drinking_water_point_NRC_per}>40 and ${Drinking_water_point_NRC_per}<=60
note | Drinking_water_point_NRC_per3 | Sub total of Sub total of Water Section is ${Drinking_water_point_NRC_per} % and It's rating is | 3.png |  |  | ${Drinking_water_point_NRC_per}>60 and ${Drinking_water_point_NRC_per}<=75
note | Drinking_water_point_NRC_per4 | Sub total of Sub total of Water Section is ${Drinking_water_point_NRC_per} % and It's rating is | 4.png |  |  | ${Drinking_water_point_NRC_per}>75 and ${Drinking_water_point_NRC_per}<=90
note | Drinking_water_point_NRC_per5 | Sub total of Sub total of Water Section is ${Drinking_water_point_NRC_per} % and It's rating is | 5.png |  |  | ${Drinking_water_point_NRC_per}>90
begin_group | Toilet_and_bathroom_facility | Toilet and bathroom facility |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Toilet_block_non_functional_broken_or_No_toilet_facility_available_NRC | 1. Toilet block non functional/ broken or No toilet facility available |  |  | true
select_one yes_no | Lack_of_functional_hand_washing_station_with_toilet_block_NRC | 2.Lack of functional hand washing station with availability of saop near toilet block |  |  | true
end_group
calculate | toilet_point_NRC_no | [6 empty] | ${Toilet_block_non_functional_broken_or_No_toilet_facility_available_NRC}+${Lack_of_functional_hand_washing_station_with_toilet_block_NRC}
calculate | toilet_point_NRC_per | [6 empty] | ${toilet_point_NRC_no}*50
note | toilet_point_NRC_per1 | Sub total of Sub total of Water Section is ${toilet_point_NRC_per} % and It's rating is | 1.png |  |  | ${toilet_point_NRC_per}<=40
note | toilet_point_NRC_per2 | Sub total of Sub total of Water Section is ${toilet_point_NRC_per} % and It's rating is | 2.png |  |  | ${toilet_point_NRC_per}>40 and ${toilet_point_NRC_per}<=60
note | toilet_point_NRC_per3 | Sub total of Sub total of Water Section is ${toilet_point_NRC_per} % and It's rating is | 3.png |  |  | ${toilet_point_NRC_per}>60 and ${toilet_point_NRC_per}<=75
note | toilet_point_NRC_per4 | Sub total of Sub total of Water Section is ${toilet_point_NRC_per} % and It's rating is | 4.png |  |  | ${toilet_point_NRC_per}>75 and ${toilet_point_NRC_per}<=90
note | toilet_point_NRC_per5 | Sub total of Sub total of Water Section is ${toilet_point_NRC_per} % and It's rating is | 5.png |  |  | ${toilet_point_NRC_per}>90
begin_group | Hand_washing_NRC | Hand washing |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Absence_of_hand_washing_station_and_soap_NRC | 1.Absence of hand washing station and soap within NRC? |  |  | true
end_group
calculate | Hand_washing_NRC_no | [6 empty] | ${Absence_of_hand_washing_station_and_soap_NRC}
calculate | Hand_washing_NRC_per | [6 empty] | ${Hand_washing_NRC_no}*100
note | Hand_washing_NRC_per1 | Sub total of Sub total of Water Section is ${Hand_washing_NRC_per} % and It's rating is | 1.png |  |  | ${Hand_washing_NRC_per}<=40
note | Hand_washing_NRC_per2 | Sub total of Sub total of Water Section is ${Hand_washing_NRC_per} % and It's rating is | 2.png |  |  | ${Hand_washing_NRC_per}>40 and ${Hand_washing_NRC_per}<=60
note | Hand_washing_NRC_per3 | Sub total of Sub total of Water Section is ${Hand_washing_NRC_per} % and It's rating is | 3.png |  |  | ${Hand_washing_NRC_per}>60 and ${Hand_washing_NRC_per}<=75
note | Hand_washing_NRC_per4 | Sub total of Sub total of Water Section is ${Hand_washing_NRC_per} % and It's rating is | 4.png |  |  | ${Hand_washing_NRC_per}>75 and ${Hand_washing_NRC_per}<=90
note | Hand_washing_NRC_per5 | Sub total of Sub total of Water Section is ${Hand_washing_NRC_per} % and It's rating is | 5.png |  |  | ${Hand_washing_NRC_per}>90
begin_group | Infection_Control_NRC | Infection Control |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Floors_or_health-care_surfaces_NRC | 1. Floors or health-care surfaces visibly dirty or unclean? |  |  | true
end_group
calculate | Infection_Control_NRC_no | [6 empty] | ${Floors_or_health-care_surfaces_NRC}
calculate | Infection_Control_NRC_per | [6 empty] | ${Infection_Control_NRC_no}*100
note | Infection_Control_NRC_per1 | Sub total of Infection Control section Section is ${Infection_Control_NRC_per} % and It's rating is | 1.png |  |  | ${Infection_Control_NRC_per}<=40
note | Infection_Control_NRC_per2 | Sub total of Infection Control section Section is ${Infection_Control_NRC_per} % and It's rating is | 2.png |  |  | ${Infection_Control_NRC_per}>40 and ${Infection_Control_NRC_per}<=60
note | Infection_Control_NRC_per3 | Sub total of Infection Control section Section is ${Infection_Control_NRC_per} % and It's rating is | 3.png |  |  | ${Infection_Control_NRC_per}>60 and ${Infection_Control_NRC_per}<=75
note | Infection_Control_NRC_per4 | Sub total of Infection Control section Section is ${Infection_Control_NRC_per} % and It's rating is | 4.png |  |  | ${Infection_Control_NRC_per}>75 and ${Infection_Control_NRC_per}<=90
note | Infection_Control_NRC_per5 | Sub total of Infection Control section Section is ${Infection_Control_NRC_per} % and It's rating is | 5.png |  |  | ${Infection_Control_NRC_per}>90
begin_group | Kitchen_Room | Kitchen Room |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Improper_cleaning_of_food_storage_area | 1. Improper cleaning of food storage area and improper covering and storage of ingredients and food at the proper temperature |  |  | true
end_group
calculate | Kitchen_NRC_no | [6 empty] | ${Improper_cleaning_of_food_storage_area}
calculate | Kitchen_NRC_per | [6 empty] | ${Kitchen_NRC_no}*100
note | Kitchen_NRC_per1 | Sub total of Kitchen section is ${Kitchen_NRC_per} % and It's rating is | 1.png |  |  | ${Kitchen_NRC_per}<=40
note | Kitchen_NRC_per2 | Sub total of Kitchen section is ${Kitchen_NRC_per} % and It's rating is | 2.png |  |  | ${Kitchen_NRC_per}>40 and ${Kitchen_NRC_per}<=60
note | Kitchen_NRC_per3 | Sub total of Kitchen section is ${Kitchen_NRC_per} % and It's rating is | 3.png |  |  | ${Kitchen_NRC_per}>60 and ${Kitchen_NRC_per}<=75
note | Kitchen_NRC_per4 | Sub total of Kitchen section is ${Kitchen_NRC_per} % and It's rating is | 4.png |  |  | ${Kitchen_NRC_per}>75 and ${Kitchen_NRC_per}<=90
note | Kitchen_NRC_per5 | Sub total of Kitchen section is ${Kitchen_NRC_per} % and It's rating is | 5.png |  |  | ${Kitchen_NRC_per}>90
begin_group | Waste_management | Waste management |  | field-list |  | ${NRC}="Yes"
select_one yes_no | Lack_of_colour_coded_bins_as_per_guideline | 1.Lack of colour coded bins as per guideline |  |  | true
end_group
calculate | WM_NRC_no | [6 empty] | ${Lack_of_colour_coded_bins_as_per_guideline}
calculate | WM_NRC_per | [6 empty] | ${WM_NRC_no}*100
note | WM_NRC_per1 | Sub total of Waste management is ${WM_NRC_per} % and It's rating is | 1.png |  |  | ${WM_NRC_per}<=40
note | WM_NRC_per2 | Sub total of Waste management is ${WM_NRC_per} % and It's rating is | 2.png |  |  | ${WM_NRC_per}>40 and ${WM_NRC_per}<=60
note | WM_NRC_per3 | Sub total of Waste management is ${WM_NRC_per} % and It's rating is | 3.png |  |  | ${WM_NRC_per}>60 and ${WM_NRC_per}<=75
note | WM_NRC_per4 | Sub total of Waste management is ${WM_NRC_per} % and It's rating is | 4.png |  |  | ${WM_NRC_per}>75 and ${WM_NRC_per}<=90
note | WM_NRC_per5 | Sub total of Waste management is ${WM_NRC_per} % and It's rating is | 5.png |  |  | ${WM_NRC_per}>90
calculate | NRC_Facility_no | [6 empty] | ${Drinking_water_point_NRC_no}+${toilet_point_NRC_no}+${Hand_washing_NRC_no}+${Hand_washing_NRC_no}+${Infection_Control_NRC_no}+${Kitchen_NRC_no}+${WM_NRC_no}
calculate | NRC_Facility_per | [6 empty] | ${NRC_Facility_no}*12.5
note | NRC_Facility_per1 | Sub total of NRC facilities and equipments is ${NRC_Facility_per} % and It's rating is | 1.png |  |  | ${NRC_Facility_per}<=40
note | NRC_Facility_per2 | Sub total of NRC facilities and equipments is ${NRC_Facility_per} % and It's rating is | 2.png |  |  | ${NRC_Facility_per}>40 and ${NRC_Facility_per}<=60
note | NRC_Facility_per3 | Sub total of NRC facilities and equipments is ${NRC_Facility_per} % and It's rating is | 3.png |  |  | ${NRC_Facility_per}>60 and ${NRC_Facility_per}<=75
note | NRC_Facility_per4 | Sub total of NRC facilities and equipments is ${NRC_Facility_per} % and It's rating is | 4.png |  |  | ${NRC_Facility_per}>75 and ${NRC_Facility_per}<=90
note | NRC_Facility_per5 | Sub total of NRC facilities and equipments is ${NRC_Facility_per} % and It's rating is | 5.png |  |  | ${NRC_Facility_per}>90
select_one yes | paed | Paediatric ward exists at the Institution:
note | Area_5_Paediatric_Ward | Area: 5. Paediatric Ward(PW) | logo10.png |  |  | ${paed}="Yes"
begin_group | Water_supply_Paediatric_Ward | Water supply |  | field-list |  | ${paed}="Yes"
select_one yes_no | Lack_of_drinking_water_point_Paed_ward | 1. Lack of drinking water point (No functional drinking water tap in/near the ward) |  |  | true
end_group
calculate | Drinking_water_point_Paed_ward_no | [6 empty] | ${Lack_of_drinking_water_point_Paed_ward}
calculate | Drinking_water_point_Paed_ward_per | [6 empty] | ${Drinking_water_point_Paed_ward_no}*100
note | Drinking_water_point_Paed_ward_per1 | Sub total of Water Supply is ${Drinking_water_point_Paed_ward_per} % and It's rating is | 1.png |  |  | ${Drinking_water_point_Paed_ward_per}<=40
note | Drinking_water_point_Paed_ward_per2 | Sub total of Water Supply is ${Drinking_water_point_Paed_ward_per} % and It's rating is | 2.png |  |  | ${Drinking_water_point_Paed_ward_per}>40 and ${Drinking_water_point_Paed_ward_per}<=60
note | Drinking_water_point_Paed_ward_per3 | Sub total of Water Supply is ${Drinking_water_point_Paed_ward_per} % and It's rating is | 3.png |  |  | ${Drinking_water_point_Paed_ward_per}>60 and ${Drinking_water_point_Paed_ward_per}<=75
note | Drinking_water_point_Paed_ward_per4 | Sub total of Water Supply is ${Drinking_water_point_Paed_ward_per} % and It's rating is | 4.png |  |  | ${Drinking_water_point_Paed_ward_per}>75 and ${Drinking_water_point_Paed_ward_per}<=90
note | Drinking_water_point_Paed_ward_per5 | Sub total of Water Supply is ${Drinking_water_point_Paed_ward_per} % and It's rating is | 5.png |  |  | ${Drinking_water_point_Paed_ward_per}>90
begin_group | Toilet_facility_at_Paed | Toilet facility at ward |  | field-list |  | ${paed}="Yes"
select_one yes_no | Dedicated_toilet_block_not_available_Paed_ward | 1. Dedicated toilet block not available for Pediatric Ward |  |  | true
select_one yes_no | Toilet_block_non_functional_Paed_ward | 2. Toilet block non functional/ broken/un clean/ chocked |  |  | true
select_one yes_no | Lack_of_24_adequate_quantity_Paed_ward | 3. Lack of 24x7 adequate quantity of water availability for toilet use |  |  | true
select_one yes_no | Lack_of_handwashing_station_near_toilet_Paed_ward | 4. Lack of handwashing station near toilet |  |  | true
select_one yes_no | Lack_of_client_handwashing_practices_Paed_ward | 5. Lack of client handwashing practices with soap/liquid soap |  |  | true
end_group
calculate | Toilet_Facility_Paed_ward_no | [6 empty] | ${Dedicated_toilet_block_not_available_Paed_ward}+${Toilet_block_non_functional_Paed_ward}+${Lack_of_24_adequate_quantity_Paed_ward}+${Lack_of_handwashing_station_near_toilet_Paed_ward}+${Lack_of_client_handwashing_practices_Paed_ward}
calculate | Toilet_Facility_Paed_ward_per | [6 empty] | ${Toilet_Facility_Paed_ward_no}*20
note | Toilet_Facility_Paed_ward_per1 | Sub total of Toilet Facility is ${Toilet_Facility_Paed_ward_per} % and It's rating is | 1.png |  |  | ${Toilet_Facility_Paed_ward_per}<=40
note | Toilet_Facility_Paed_ward_per2 | Sub total of Toilet Facility is ${Toilet_Facility_Paed_ward_per} % and It's rating is | 2.png |  |  | ${Toilet_Facility_Paed_ward_per}>40 and ${Toilet_Facility_Paed_ward_per}<=60
note | Toilet_Facility_Paed_ward_per3 | Sub total of Toilet Facility is ${Toilet_Facility_Paed_ward_per} % and It's rating is | 3.png |  |  | ${Toilet_Facility_Paed_ward_per}>60 and ${Toilet_Facility_Paed_ward_per}<=75
note | Toilet_Facility_Paed_ward_per4 | Sub total of Toilet Facility is ${Toilet_Facility_Paed_ward_per} % and It's rating is | 4.png |  |  | ${Toilet_Facility_Paed_ward_per}>75 and ${Toilet_Facility_Paed_ward_per}<=90
note | Toilet_Facility_Paed_ward_per5 | Sub total of Toilet Facility is ${Toilet_Facility_Paed_ward_per} % and It's rating is | 5.png |  |  | ${Toilet_Facility_Paed_ward_per}>90
begin_group | Hand_Washing_Paediatric_Ward | Hand Washing |  | field-list |  | ${paed}="Yes"
select_one yes_no | Lack_of_functional_hand_washing_station_Paed_ward | 1. Lack of functional hand washing station for clinical hand wash with 24x7 running water |  |  | true
select_one yes_no | Absence_of_Elbow_Tap_Paed_ward | 2. Absence of Elbow Tap not at hand washing station |  |  | true
select_one yes_no | Absence_of_Soap_Paed_sterile_towel_ward | 3. Absence of Soap/Liquid soap/Alcohol hand rub /sterile towel / Tissue / Blow Dry |  |  | true
select_one yes_no | Lack_of_hand_washing_practices_Paed_ward | 4. Lack of hand washing practices by service provider (to be observed in PW) |  |  | true
end_group
calculate | Hand_Washing_Paed_ward_no | [6 empty] | ${Lack_of_functional_hand_washing_station_Paed_ward}+${Absence_of_Elbow_Tap_Paed_ward}+${Absence_of_Soap_Paed_sterile_towel_ward}+${Lack_of_hand_washing_practices_Paed_ward}
calculate | Hand_Washing_Paed_ward_per | [6 empty] | ${Hand_Washing_Paed_ward_no}*25.0
note | Hand_Washing_Paed_ward_per1 | Sub total of Hand Washing is ${Hand_Washing_Paed_ward_per} % and It's rating is | 1.png |  |  | ${Hand_Washing_Paed_ward_per}<=40
note | Hand_Washing_Paed_ward_per2 | Sub total of Hand Washing is ${Hand_Washing_Paed_ward_per} % and It's rating is | 2.png |  |  | ${Hand_Washing_Paed_ward_per}>40 and ${Hand_Washing_Paed_ward_per}<=60
note | Hand_Washing_Paed_ward_per3 | Sub total of Hand Washing is ${Hand_Washing_Paed_ward_per} % and It's rating is | 3.png |  |  | ${Hand_Washing_Paed_ward_per}>60 and ${Hand_Washing_Paed_ward_per}<=75
note | Hand_Washing_Paed_ward_per4 | Sub total of Hand Washing is ${Hand_Washing_Paed_ward_per} % and It's rating is | 4.png |  |  | ${Hand_Washing_Paed_ward_per}>75 and ${Hand_Washing_Paed_ward_per}<=90
note | Hand_Washing_Paed_ward_per5 | Sub total of Hand Washing is ${Hand_Washing_Paed_ward_per} % and It's rating is | 5.png |  |  | ${Hand_Washing_Paed_ward_per}>90
begin_group | Bio_Medical_Waste_Management_Paediatric_Ward | Bio Medical Waste Management |  | field-list |  | ${paed}="Yes"
select_one yes_no | Lack_of_colour_coded_bins_Paed_ward | 1. Lack of colour coded bins in PW for waste segregation |  |  | true
select_one yes_no | Lack_of_correct_use_of_colour_coded_bins_Paed_ward | 2. Lack of correct use of colour coded bins |  |  | true
select_one yes_no | Unavailability_of_materials_for_cleaning | 3. Unavailability of appropriate and sufficient materials for cleaning (i.e. detergent, mops, bucket etc.) |  |  | true
end_group
calculate | BMW_Paed_ward_no | [6 empty] | ${Lack_of_colour_coded_bins_Paed_ward}+${Lack_of_correct_use_of_colour_coded_bins_Paed_ward}+${Unavailability_of_materials_for_cleaning}
calculate | BMW_Paed_ward_per | [6 empty] | ${BMW_Paed_ward_no}*33.333333
note | BMW_Paed_ward_per1 | Sub total of Bio Medical Waste Management is ${BMW_Paed_ward_per} % and It's rating is | 1.png |  |  | ${BMW_Paed_ward_per}<=40
note | BMW_Paed_ward_per2 | Sub total of Bio Medical Waste Management is ${BMW_Paed_ward_per} % and It's rating is | 2.png |  |  | ${BMW_Paed_ward_per}>40 and ${BMW_Paed_ward_per}<=60
note | BMW_Paed_ward_per3 | Sub total of Bio Medical Waste Management is ${BMW_Paed_ward_per} % and It's rating is | 3.png |  |  | ${BMW_Paed_ward_per}>60 and ${BMW_Paed_ward_per}<=75
note | BMW_Paed_ward_per4 | Sub total of Bio Medical Waste Management is ${BMW_Paed_ward_per} % and It's rating is | 4.png |  |  | ${BMW_Paed_ward_per}>75 and ${BMW_Paed_ward_per}<=90
note | BMW_Paed_ward_per5 | Sub total of Bio Medical Waste Management is ${BMW_Paed_ward_per} % and It's rating is | 5.png |  |  | ${BMW_Paed_ward_per}>90
begin_group | Over_all_cleaning_Paed_ward | Over all cleaning in Paediatric ward |  | field-list |  | ${paed}="Yes"
select_one yes_no | Floors_or_health-care_surfaces_Paed_ward | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids?(to be rated based on observations in PW only) |  |  | true
end_group
calculate | Over_all_cleaning_Paed_ward_no | [6 empty] | ${Floors_or_health-care_surfaces_Paed_ward}
calculate | Over_all_cleaning_Paed_ward_per | [6 empty] | ${Over_all_cleaning_Paed_ward_no}*100
note | Over_all_cleaning_Paed_ward_per1 | Sub total of Over all cleaning and Equipments is ${Over_all_cleaning_Paed_ward_per} % and It's rating is | 1.png |  |  | ${Over_all_cleaning_Paed_ward_per}<=40
note | Over_all_cleaning_Paed_ward_per2 | Sub total of Over all cleaning and Equipments is ${Over_all_cleaning_Paed_ward_per} % and It's rating is | 2.png |  |  | ${Over_all_cleaning_Paed_ward_per}>40 and ${Over_all_cleaning_Paed_ward_per}<=60
note | Over_all_cleaning_Paed_ward_per3 | Sub total of Over all cleaning and Equipments is ${Over_all_cleaning_Paed_ward_per} % and It's rating is | 3.png |  |  | ${Over_all_cleaning_Paed_ward_per}>60 and ${Over_all_cleaning_Paed_ward_per}<=75
note | Over_all_cleaning_Paed_ward_per4 | Sub total of Over all cleaning and Equipments is ${Over_all_cleaning_Paed_ward_per} % and It's rating is | 4.png |  |  | ${Over_all_cleaning_Paed_ward_per}>75 and ${Over_all_cleaning_Paed_ward_per}<=90
note | Over_all_cleaning_Paed_ward_per5 | Sub total of Over all cleaning and Equipments is ${Over_all_cleaning_Paed_ward_per} % and It's rating is | 5.png |  |  | ${Over_all_cleaning_Paed_ward_per}>90
calculate | Paed_Ward | [6 empty] | ${Drinking_water_point_Paed_ward_no}+${Toilet_Facility_Paed_ward_no}+${Hand_Washing_Paed_ward_no}+${BMW_Paed_ward_no}+${Over_all_cleaning_Paed_ward_no}
calculate | Paed_Ward_per | [6 empty] | ${Paed_Ward}*7.142857143
note | Paed_Ward_per1 | Sub total of Paediatric Ward and equipments is ${Paed_Ward_per} % and It's rating is | 1.png |  |  | ${Paed_Ward_per}<=40
note | Paed_Ward_per2 | Sub total of Paediatric Ward and equipments is ${Paed_Ward_per} % and It's rating is | 2.png |  |  | ${Paed_Ward_per}>40 and ${Paed_Ward_per}<=60
note | Paed_Ward_per3 | Sub total of Paediatric Ward and equipments is ${Paed_Ward_per} % and It's rating is | 3.png |  |  | ${Paed_Ward_per}>60 and ${Paed_Ward_per}<=75
note | Paed_Ward_per4 | Sub total of Paediatric Ward and equipments is ${Paed_Ward_per} % and It's rating is | 4.png |  |  | ${Paed_Ward_per}>75 and ${Paed_Ward_per}<=90
note | Paed_Ward_per5 | Sub total of Paediatric Ward and equipments is ${Paed_Ward_per} % and It's rating is | 5.png |  |  | ${Paed_Ward_per}>90
select_one yes | ccc | Covid Care Center exists at the Institution:
note | Area_6_Covid19_care_centers | Area: 6. COVID -19 care centers | logo11.png |  |  | ${ccc}="Yes"
image | image_CCC | COVID-19 care centers:(Take a picture or upload an image file)
begin_group | Drinkingwater_CCC | COVID-19 care centers |  | field-list |  | ${ccc}="Yes"
select_one yes_no | Separate_wards_for_confirmed_and_suspected_cases | 1. Lack of separate wards for confirmed and suspected cases |  |  | true
select_one yes_no | Lack_of_treated_drinking_water | 2. Lack of treated drinking water in the COVID-19 wards within the ward |  |  | true
end_group
begin_group | Toilet_facility_CCC | Toilet facility |  | field-list |  | ${ccc}="Yes"
select_one yes_no | Bedpan_not_disinfected | 1. Bedpan not disinfected with 0.1 % chlorine solution. |  |  | true
select_one yes_no | Requiredstock_not_available | 2. Required stock/lack of PPE for cleaning staff not available / Cleaning staff not wearing PPE. |  |  | true
select_one yes_no | Toilets_are_not_cleaned | 3.Toilets are not cleaned daily thrice. |  |  | true
end_group
begin_group | Bio_medical_waste_CCC | Biomedical Waste |  | field-list |  | ${ccc}="Yes"
select_one yes_no | Placed_Bio_medical_waste_bins | 1. COVID-19 tagged Bio-medical waste bins are not placed in the wards/Lack of Color coded Bins / polythenes for COVID-19 waste such as Red, Yellow, Blue, White and Green. |  |  | true
select_one yes_no | Waste_not_disposed | 2. Wastes are not disposed in every six hours in desired bags with tags of COVID-19 waste/Lack of waste segregation as per the COVID-19 protocols (Bio-degradable or recyclable waste). |  |  | true
select_one yes_no | Sanitationworkers_Notwearing | 3. Sanitation workers not wearing/using complete PPE set while entering and handling the COVID-19 waste. |  |  | true
select_one yes_no | Transportationtrolleys_notinuse | 4.COVID-19 labelled waste separate transportation trolly not in use. |  |  | true
select_one yes_no | Transportationtrolleys_notsanitised | 5. COVID-19 transportation vehicle not sanitized after every trip. |  |  | true
select_one yes_no | Noseparate_temporary_storageroom | 6. There is no any separate temporary storage room for COVID-19 labelled waste. |  |  | true
select_one yes_no | SoiledPPE_notinbag | 7. Soiled PPE not putting in sealed bag for safe disposal or laundering (Covid section) |  |  | true
select_one yes_no | Untrained_staff | 8.COVID-19 care staffs are untrained in WASH and COVID-19 maintenance. |  |  | true
end_group
begin_group | Infection_prevention_Hand_washing_CCC | Handwashing and Infection Prevention |  | field-list |  | ${ccc}="Yes"
select_one yes_no | Patient_washinghands | 1.Patients are washing hands in the wards irregularly. |  |  | true
select_one yes_no | Distance_bedslessthanonemeter | 2.Distance between the beds is less than one meter. |  |  | true
end_group
calculate | ccc_no | [6 empty] | ${Separate_wards_for_confirmed_and_suspected_cases}+${Lack_of_treated_drinking_water}+${Bedpan_not_disinfected}+${Requiredstock_not_available}+${Toilets_are_not_cleaned}+${Placed_Bio_medical_waste_bins}+${Waste_not_disposed}+${Sanitationworkers_Notwearing}+${Transportationtrolleys_notinuse}+${Transportationtrolleys_notsanitised}+${SoiledPPE_notinbag}+${Untrained_staff}+${Patient_washinghands}+${Distance_bedslessthanonemeter}
calculate | ccc_per | [6 empty] | ${ccc_no}*6.666666667
note | ccc_per1 | Sub total of Covid-19 care centre-section is ${ccc_per} % and It's rating is | 1.png |  |  | ${ccc_per}<=40
note | ccc_per2 | Sub total of Covid-19 care centre-section is ${ccc_per} % and It's rating is | 2.png |  |  | ${ccc_per}>40 and ${ccc_per}<=60
note | ccc_per3 | Sub total of Covid-19 care centre-section is ${ccc_per} % and It's rating is | 3.png |  |  | ${ccc_per}>60 and ${ccc_per}<=75
note | ccc_per4 | Sub total of Covid-19 care centre-section is ${ccc_per} % and It's rating is | 4.png |  |  | ${ccc_per}>75 and ${ccc_per}<=90
note | ccc_per5 | Sub total of Covid-19 care centre-section is ${ccc_per} % and It's rating is | 5.png |  |  | ${ccc_per}>90
select_one yes | sncu | SNCU exists at the Institution:
note | Area_7_SNCU | Area: 7. SNCU | logo12.png
begin_group | Water_supply_SNCU | Water supply |  | field-list |  | ${sncu}="Yes"
select_one yes_no | Lack_of_drinking_water_point_SNCU_ward | 1. Lack of drinking water point (No functional drinking water tap in/near the SNCU) |  |  | true | ${sncu}="Yes"
end_group
begin_group | Toilet_facility_at_SNCU | Toilet facility at ward |  | field-list |  | ${sncu}="Yes"
select_one yes_no | Dedicated_toilet_block_not_available_SNCU_ward | 1. Dedicated toilet block not available for SNCU |  |  | true
select_one yes_no | Toilet_block_non_functional_SNCU_ward | 2. Toilet block non functional/ broken/un clean/ chocked |  |  | true
select_one yes_no | Lack_of_24_adequate_quantity_SNCU_ward | 3. Lack of 24x7 adequate quantity of water availability for toilet use |  |  | true
select_one yes_no | Lack_of_handwashing_station_near_toilet_SNCU_ward | 4. Lack of handwashing station near toilet |  |  | true
select_one yes_no | Lack_of_client_handwashing_practices_SNCU_ward | 5. Lack of client handwashing practices with soap/liquid soap |  |  | true
end_group
begin_group | Hand_Washing_SNCU | Hand Washing |  | field-list |  | ${sncu}="Yes"
select_one yes_no | Lack_of_functional_hand_washing_station_SNCU_ward | 1. Lack of functional hand washing station for clinical hand wash with 24x7 running water |  |  | true
select_one yes_no | Absence_of_Elbow_Tap_SNCU_ward | 2. Absence of Elbow Tap not at hand washing station |  |  | true
select_one yes_no | Absence_of_Soap_SNCU_sterile_towel_ward | 3. Absence of Soap/Liquid soap/Alcohol hand rub /sterile towel / Tissue / Blow Dry |  |  | true
select_one yes_no | Lack_of_hand_washing_practices_SNCU_ward | 4. Lack of hand washing practices by service provider (to be observed in PW) |  |  | true
end_group
begin_group | Bio_Medical_Waste_Management_SNCU | Bio Medical Waste Management |  | field-list |  | ${sncu}="Yes"
select_one yes_no | Lack_of_colour_coded_bins_SNCU_ward | 1. Lack of colour coded bins in PW for waste segregation |  |  | true
select_one yes_no | Lack_of_correct_use_of_colour_coded_bins_SNCU_ward | 2. Lack of correct use of colour coded bins |  |  | true
select_one yes_no | unavailability_of_materials_for_cleaning | 3. Unavailability of appropriate and sufficient materials for cleaning (i.e. detergent, mops, bucket etc.) |  |  | true
end_group
begin_group | Over_all_cleaning_SNCU_ward | Over all cleaning in Paediatric ward |  | field-list |  | ${sncu}="Yes"
select_one yes_no | Floors_or_health-care_surfaces_SNCU_ward | 1. Floors or health-care surfaces visibly dirty or soiled with body fluids?(to be rated based on observations in PW only) |  |  | true
end_group
calculate | SNCU_Ward | [6 empty] | ${Lack_of_drinking_water_point_SNCU_ward}+${Dedicated_toilet_block_not_available_SNCU_ward}+${Toilet_block_non_functional_SNCU_ward}+${Lack_of_24_adequate_quantity_SNCU_ward}+${Lack_of_handwashing_station_near_toilet_SNCU_ward}+${Lack_of_client_handwashing_practices_SNCU_ward}+${Lack_of_functional_hand_washing_station_SNCU_ward}+${Absence_of_Elbow_Tap_SNCU_ward}+${Absence_of_Soap_SNCU_sterile_towel_ward}+${Lack_of_hand_washing_practices_SNCU_ward}+${Lack_of_colour_coded_bins_SNCU_ward}+${Lack_of_correct_use_of_colour_coded_bins_SNCU_ward}+${unavailability_of_materials_for_cleaning}+${Floors_or_health-care_surfaces_SNCU_ward}
calculate | SNCU_Ward_per | [6 empty] | ${SNCU_Ward}*7.142857143
note | SNCU_Ward_per1 | Sub total of SNCU Ward and equipments is ${SNCU_Ward_per} % and It's rating is | 1.png |  |  | ${SNCU_Ward_per}<=40
note | SNCU_Ward_per2 | Sub total of SNCU Ward and equipments is ${SNCU_Ward_per} % and It's rating is | 2.png |  |  | ${SNCU_Ward_per}>40 and ${SNCU_Ward_per}<=60
note | SNCU_Ward_per3 | Sub total of SNCU Ward and equipments is ${SNCU_Ward_per} % and It's rating is | 3.png |  |  | ${SNCU_Ward_per}>60 and ${SNCU_Ward_per}<=75
note | SNCU_Ward_per4 | Sub total of SNCU Ward and equipments is ${SNCU_Ward_per} % and It's rating is | 4.png |  |  | ${SNCU_Ward_per}>75 and ${SNCU_Ward_per}<=90
note | SNCU_Ward_per5 | Sub total ofSNCU Ward and equipments is ${SNCU_Ward_per} % and It's rating is | 5.png |  |  | ${SNCU_Ward_per}>90
calculate | overall_no | Score from each of the sections | [5 empty] | ${Gen_Sec_no}+${PNC_Ward_no}+${LR_no}+${OPD_no}+${Paed_Ward}+${ccc_no}+${SNCU_Ward}+${NRC_Facility_no}
calculate | overall_max | Maximum possible score which we will use only to calculate the percentage. | [5 empty] | if(${paed} = "Yes",14,0) + if(${ccc}="Yes",15,0) + if(${sncu} = "Yes",14,0) + if(${NRC} = "Yes",8,0)
calculate | overall_per | Percentage calculation | [5 empty] | ${overall_no}*100 div ${overall_max}
note | overall_per1 | OVER ALL is ${overall_per} % and It's rating is | 1.png |  |  | ${overall_per}<=40 |  |  |  | text | Designation | Designation: |  | true
note | overall_per2 | OVER ALL is ${overall_per} % and It's rating is | 2.png |  |  | ${overall_per}>40 and ${overall_per}<=60 |  |  |  | end_group
note | overall_per3 | OVER ALL is ${overall_per} % and It's rating is | 3.png |  |  | ${overall_per}>60 and ${overall_per}<=75 |  |  |  | image | Signature | Signature: | draw
note | overall_per4 | OVER ALL is ${overall_per} % and It's rating is | 4.png |  |  | ${overall_per}>75 and ${overall_per}<=90 |  |  |  | calculate | __version__ |  |  |  | 'vDnKZD2X4pQSfpqenXmHbM'
note | overall_per5 | OVER ALL is ${overall_per} % and It's rating is | 5.png |  |  | ${overall_per}>90 |  |  |  | calculate | _version_ |  |  |  | 'vZDv2BtK7pncBSnddnGzQZ' | __version__
text | Remarks | # Remarks : |  |  | true
begin_group | Details_of_Person_filling_the_observation_sheet | # Details of Person filling the observation sheet: |  | field-list
text | Name | Name: |  |  | true
text | Designation | Designation: |  |  | true
end_group
image | Signature | Signature: |  | draw
calculate | __version__ | [6 empty] | 'vDnKZD2X4pQSfpqenXmHbM'
calculate | _version_ | [6 empty] | 'vZDv2BtK7pncBSnddnGzQZ' | __version__

## choices
list_name | name | label | filter_list
level1_list | Alirajpur | Alirajpur
level1_list | Vidisha | Vidisha
level1_list | Guna | Guna
level1_list | Jhabua | Jhabua
level1_list | Indore | Indore
level1_list | Sheopur | Sheopur
level1_list | Shivpuri | Shivpuri
level1_list | Badwani | Badwani
level2_list | Alirajpur_1 | Alirajpur | Alirajpur
level2_list | Bhavra | Bhavra | Alirajpur
level2_list | Jobat | Jobat | Alirajpur
level2_list | Kattiwada | Kattiwada | Alirajpur
level2_list | Sondwa | Sondwa | Alirajpur
level2_list | Udaigarh | Udaigarh | Alirajpur
level2_list | Indore_1 | Indore | Indore
level2_list | Sawar | Sawar | Indore
level2_list | Hathod | Hathod | Indore
level2_list | Manpur | Manpur | Indore
level2_list | Depalpur | Depalpur | Indore
level2_list | Guna_1 | Guna | Guna
level2_list | Bamori | Bamori | Guna
level2_list | Aron | Aron | Guna
level2_list | Raghougarh | Raghougarh | Guna
level2_list | Chachoda | Chachoda | Guna
level2_list | Jhabua_1 | Petalwad | Jhabua
level2_list | Thandla | Thandla | Jhabua
level2_list | Meghnagar | Meghnagar | Jhabua
level2_list | Jhabua | Jhabua | Jhabua
level2_list | Rama | Rama | Jhabua
level2_list | Ranapur | Ranapur | Jhabua
level2_list | Vidisha_1 | Vidisha | Vidisha
level2_list | Basoda | Basoda | Vidisha
level2_list | Gyaraspur | Gyaraspur | Vidisha
level2_list | Kurwai | Kurwai | Vidisha
level2_list | Lateri | Lateri | Vidisha
level2_list | Shamsabad | Shamsabad | Vidisha
level2_list | Nateran | Nateran | Vidisha
level2_list | Sironj | Sironj | Vidisha
level2_list | Sheopur_1 | Baroda | Sheopur
level2_list | Karahal | Karahal | Sheopur
level2_list | Sheopur | Sheopur | Sheopur
level2_list | Vijaypur | Vijaypur | Sheopur
level2_list | Shivpuri_1 | Badarwas | Shivpuri
level2_list | Karera | Karera | Shivpuri
level2_list | Khaniyadhana | Khaniyadhana | Shivpuri
level2_list | Kolaras | Kolaras | Shivpuri
level2_list | Narwar | Narwar | Shivpuri
level2_list | Pichhore | Pichhore | Shivpuri
level2_list | Pohari | Pohari | Shivpuri
level2_list | Shivpuri | Shivpuri | Shivpuri
level2_list | Barwani_1 | Barwani | Barwani
level2_list | Pati | Pati | Barwani
level2_list | Silwad | Silwad | Barwani
level2_list | Pansemal | Pansemal | Barwani
level2_list | Nilwali | Nilwali | Barwani
level2_list | Sendhwa | Sendhwa | Barwani
level2_list | Rajpur | Rajpur | Barwani
level2_list | Thikari | Thikari | Barwani
level3_list | DH_Alirajpur | DH-Alirajpur | Alirajpur_1
level3_list | PHC_Ambua | PHC-Ambua | Alirajpur_1
level3_list | PHC_Nanpur | PHC-Nanpur | Alirajpur_1
level3_list | CHC _Bhavra | CHC -Bhavra | Alirajpur_1
level3_list | PHC_Burzer | PHC-Burzer | Alirajpur_1
level3_list | CHC_Jobat | CHC- Jobat | Alirajpur_1
level3_list | SHC_Kanwada | SHC-Kanwada | Alirajpur_1
level3_list | PHC_Khattali | PHC-Khattali | Alirajpur_1
level3_list | PHC_Amkhut | PHC-Amkhut | Alirajpur_1
level3_list | CHC_Katthiwada | CHC-Katthiwada | Alirajpur_1
level3_list | PHC_Sorwa | PHC-Sorwa | Alirajpur_1
level3_list | PHC_Bakhatgarth | PHC-Bakhatgarth | Alirajpur_1
level3_list | SHC_Chhaktala | SHC-Chhaktala | Alirajpur_1
level3_list | CHC_ Sondwa | CHC-Sondwa | Alirajpur_1
level3_list | PHC_Umrali | PHC-Umrali | Alirajpur_1
level3_list | PHC_Kanakakd | PHC-Kanakakd | Alirajpur_1
level3_list | CHC_ Udaigarh | CHC-Udaigarh | Alirajpur_1
level3_list | PHC_Bori | PHC-Bori | Alirajpur_1
level3_list | SHC_Dabdi | SHC-Dabdi | Alirajpur_1
level3_list | SHC_Badi Juari | SHC-Badi Juari | Alirajpur_1
level3_list | DH_Jhabua | DH_Jhabua | Jhabua_1
level3_list | PHC_Pitol | PHC- Pitol | Jhabua_1
level3_list | SHC_Amlipalia | SHC-Amlipalia | Jhabua_1
level3_list | CHC Kalyanapura | CHC- Kalyanapura | Jhabua_1
level3_list | PHC_ Raipuria | PHC- Raipuria | Jhabua_1
level3_list | PHC _Sarangi | PHC- Sarangi | Jhabua_1
level3_list | PHC_ Bekalda | PHC- Bekalda | Jhabua_1
level3_list | PHC_ Karwad | PHC- Karwad | Jhabua_1
level3_list | SHC_Unnai | SHC-Unnai | Jhabua_1
level3_list | PHC_ Jhaknawada | PHC- Jhaknawada | Jhabua_1
level3_list | PHC_ Bamaniya | PHC- Bamaniya | Jhabua_1
level3_list | CHC Petalwad | CHC- Petalwad | Jhabua_1
level3_list | PHC_ Khawasa | PHC- Khawasa | Jhabua_1
level3_list | PHC_ Kakanwani | PHC- Kakanwani | Jhabua_1
level3_list | CHC Thandla | CHC -Thandla | Jhabua_1
level3_list | SHC_Hatyadeli | SHC-Hatyadeli | Jhabua_1
level3_list | PHC_ Madrani | PHC- Madrani | Jhabua_1
level3_list | CHC Meghnagar | CHC- Meghnagar | Jhabua_1
level3_list | PHC_ Pithalpur | PHC- Pithalpur | Jhabua_1
level3_list | PHC_ Umarkot | PHC- Umarkot | Jhabua_1
level3_list | CHC Rama | CHC- Rama | Jhabua_1
level3_list | CHC Para | CHC- Para | Jhabua_1
level3_list | CHC Ranapur | CHC - Ranapur | Jhabua_1
level3_list | PHC_ Kanjawani | PHC- Kanjawani | Jhabua_1
level3_list | PHC_ Mordundiya | PHC- Mordundiya | Jhabua_1
level3_list | PHC_ Samoi | PHC -Samoi | Jhabua_1
level3_list | DH_Guna | DH_ Guna | Guna_1
level3_list | PHC_Markimahu | PHC - Markimahu | Guna_1
level3_list | PHC_Bhadora | PHC - Bhadora | Guna_1
level3_list | SHC_Pagara | SHC - Pagara | Guna_1
level3_list | CHC_Myana | CHC - Myana | Guna_1
level3_list | PHC_Bajrangrah | PHC - Bajrangrah | Guna_1
level3_list | PHC_Vishanwada | PHC - Vishanwada | Guna_1
level3_list | CHC_Bamori | CHC - Bamori | Guna_1
level3_list | PHC_Fatehgarh | PHC - Fatehgarh | Guna_1
level3_list | PHC_Panwadi_hat | PHC - Panwadi hat | Guna_1
level3_list | Civil_Hospital_Aron | Civil Hospital Aron | Guna_1
level3_list | PHC_Jamner | PHC - Jamner | Guna_1
level3_list | PHC_Madhusudangarh | PHC - Madhusudangarh | Guna_1
level3_list | CHC_Raghogarh | CHC - Raghogarh | Guna_1
level3_list | PHC_Ruthiyai | PHC - Ruthiyai | Guna_1
level3_list | PHC_Mrigwas | PHC - Mrigwas | Guna_1
level3_list | PHC_Chachoda | PHC - Chachoda | Guna_1
level3_list | CHC_Binaganj | CHC Binaganj | Guna_1
level3_list | CHC_Kumbhraj | CHC - Kumbhraj | Guna_1
level3_list | DH_Vidisha | DH - Vidisha | Vidisha_1
level3_list | CHC_Pipalkheda | CHC - Pipalkheda | Vidisha_1
level3_list | PHC_Ahmadpur | PHC - Ahmadpur | Vidisha_1
level3_list | CHC_Tyonda | CHC - Tyonda | Vidisha_1
level3_list | CH_Basoda | CH - Basoda | Vidisha_1
level3_list | CHC_Gyaraspur | CHC - Gyaraspur | Vidisha_1
level3_list | PHC_Gulabganj | PHC - Gulabganj | Vidisha_1
level3_list | PHC_Haidarghar | PHC - Haidarghar | Vidisha_1
level3_list | CHC_Kurwai | CHC - Kurwai | Vidisha_1
level3_list | PHC_Barvai | PHC - Barvai | Vidisha_1
level3_list | PHC_Layara | PHC - Layara | Vidisha_1
level3_list | CHC_Lateri | CHC - Lateri | Vidisha_1
level3_list | CHC_Shamshabad | CHC - Shamshabad | Vidisha_1
level3_list | CHC_Nateran | CHC - Nateran | Vidisha_1
level3_list | PHC_Barkhedajager | PHC - Barkhedajager | Vidisha_1
level3_list | PHC_Mahu | PHC - Mahu | Vidisha_1
level3_list | CH_Sironj | CH - Sironj | Vidisha_1
level3_list | PHC_Garetha | PHC - Garetha | Vidisha_1
level3_list | PHC_Kaswatal | PHC - Kaswatal | Vidisha_1
level3_list | DH_Indore | DH - Indore | Indore_1
level3_list | CH_PC Sethi | CH - PC Sethi | Indore_1
level3_list | City_CHC_Badganga | City CHC - Badganga | Indore_1
level3_list | Malharganj_PolyClinic | Malharganj - PolyClinic | Indore_1
level3_list | Nanda_Nagar_Metenity_Home | Nanda Nagar - Metenity Home | Indore_1
level3_list | UPHC_Bilochi_Hapsi | UPHC - Bilochi Hapsi | Indore_1
level3_list | Mangilal_Churiya_Hospital | Mangilal Churiya - Hospital | Indore_1
level3_list | CHC_Sawer_Block | CHC - Sawer Block | Indore_1
level3_list | PHC_Shipra | PHC - Shipra | Indore_1
level3_list | PHC_Chadrawati | PHC Chadrawati | Indore_1
level3_list | PHC_Paliya | PHC - Paliya | Indore_1
level3_list | PHC_Hathod | PHC - Hathod | Indore_1
level3_list | PHC_Tilor Kudra | PHC - Tilor Kudra | Indore_1
level3_list | PHC_Cample | PHC - Cample | Indore_1
level3_list | SHC_Agara | SHC - Agara | Indore_1
level3_list | SHC_Kalariya | SHC - Kalariya | Indore_1
level3_list | CHC_Manpurr | CHC - Manpurr | Indore_1
level3_list | PHC_Hasalpur | PHC - Hasalpur | Indore_1
level3_list | PHC_Simrol | PHC - Simrol | Indore_1
level3_list | CH_Mhow | CH - Mhow | Indore_1
level3_list | CHC_Depalpur | CHC - Depalpur | Indore_1
level3_list | PHC_Goutampura | PHC - Goutampura | Indore_1
level3_list | CHC_Betma | CHC - Betma | Indore_1
level3_list | PHC_Attehra | PHC - Attehra | Indore_1
level3_list | DH_Badwani | DH - Badwani | Badwani_1
level3_list | CHC_Pati | CHC - Pati | Badwani_1
level3_list | PHC_Gandhwa | PHC - Gandhwa | Badwani_1
level3_list | PHC_Bokrata | PHC - Bokrata | Badwani_1
level3_list | PHC_Rosar | PHC - Rosar | Badwani_1
level3_list | CHC_Silwad | CHC - Silwad | Badwani_1
level3_list | PHC_Talwad | PHC - Talwad | Badwani_1
level3_list | PHC_Bhawti | PHC - Bhawti | Badwani_1
level3_list | PHC_Manimata | PHC - Manimata | Badwani_1
level3_list | CHC_Pansemal | CHC - Pansemal | Badwani_1
level3_list | PHC_Rakhi_Bujurg | PHC - Rakhi Bujurg | Badwani_1
level3_list | PHC_Ketia | PHC - Ketia | Badwani_1
level3_list | PHC_Moida | PHC - Moida | Badwani_1
level3_list | CHC_Niwali | CHC - Niwali | Badwani_1
level3_list | PHC_Jogwada | PHC - Jogwada | Badwani_1
level3_list | PHC_Chatli | PHC - Chatli | Badwani_1
level3_list | CH_Sendhwa | CH - Sendhwa | Badwani_1
level3_list | PHC_Babdad | PHC - Babdad | Badwani_1
level3_list | PHC_Dhawli | PHC - Dhawli | Badwani_1
level3_list | CHC_Warla | CHC - Warla | Badwani_1
level3_list | PHC_Balwadi | PHC - Balwadi | Badwani_1
level3_list | PHC_Dhanora | PHC - Dhanora | Badwani_1
level3_list | PHC_Chachriya | PHC - Chachriya | Badwani_1
level3_list | PHC_Jhopali | PHC - Jhopali | Badwani_1
level3_list | CHC_Rajpur | CHC - Rajpur | Badwani_1
level3_list | PHC_Upla | PHC - Upla | Badwani_1
level3_list | PHC_Indrapur | PHC - Indrapur | Badwani_1
level3_list | PHC_Julwaniya | PHC - Julwaniya | Badwani_1
level3_list | PHC_Ojhar | PHC - Ojhar | Badwani_1
level3_list | CHC_Palsad | CHC - Palsad | Badwani_1
level3_list | PHC_Nagalwadi | PHC - Nagalwadi | Badwani_1
level3_list | CHC_Thikari | CHC - Thikari | Badwani_1
level3_list | PHC_Anjad | PHC - Anjad | Badwani_1
level3_list | PHC_Barufatak | PHC - Barufatak | Badwani_1
level3_list | PHC_Dawana | PHC - Dawana | Badwani_1
level3_list | PHC_Talwada_Deb | PHC - Talwada Deb | Badwani_1
level3_list | DH_Sheopur | DH_Sheopur | Sheopur_1
level3_list | CHC_Baroda | CHC - Baroda | Sheopur_1
level3_list | PHC_Datarda | PHC - Datarda | Sheopur_1
level3_list | PHC_Dohdar | PHC - Dohdar | Sheopur_1
level3_list | PHC_Durgapuri | PHC - Durgapuri | Sheopur_1
level3_list | CHC_Karahal | CHC - Karahal | Sheopur_1
level3_list | SHC_Goras | SHC - Goras | Sheopur_1
level3_list | PHC_Bargama | PHC - Bargama | Sheopur_1
level3_list | CHC_Vijaypur | CHC Vijaypur | Sheopur_1
level3_list | PHC_Veerpur | PHC - Veerpur | Sheopur_1
level3_list | PHC_Agra | PHC- Agra | Sheopur_1
level3_list | PHC_Saheshram | PHC - Saheshram | Sheopur_1
level3_list | DH_Shivpuri | DH- Shivpuri | Shivpuri_1
level3_list | CHC_Satanwara | CHC- Satanwara | Shivpuri_1
level3_list | SHC_Muderi | SHC-Muderi | Shivpuri_1
level3_list | SHC_Surwaya | SHC- Surwaya | Shivpuri_1
level3_list | CHC_Karera | CHC -Karera | Shivpuri_1
level3_list | PHC_Sirsod | PHC- Sirsod | Shivpuri_1
level3_list | PHC_Dinara | PHC - Dinara | Shivpuri_1
level3_list | PHC_Amolpata | PHC - Amolpata | Shivpuri_1
level3_list | CHC_Picchore | CHC- Pichore | Shivpuri_1
level3_list | PHC_Manpura | PHC - Manpura | Shivpuri_1
level3_list | PHC_Khod | PHC - Khod | Shivpuri_1
level3_list | CHC_Narwar | CHC- Narwar | Shivpuri_1
level3_list | PHC_Magroni | PHC- Magroni | Shivpuri_1
level3_list | SHC_Karhi | SHC- Karhi | Shivpuri_1
level3_list | CHC_Badarwas | CHC- Badarwas | Shivpuri_1
level3_list | PHC_Rannod | PHC- Rannod | Shivpuri_1
level3_list | PHC_Khatora | PHC- Khatora | Shivpuri_1
level3_list | CHC_Pohari | CHC- Pohari | Shivpuri_1
level3_list | SHC_Chharch | PHC- Chharch | Shivpuri_1
level3_list | PHC_Bairad | PHC- Bairad | Shivpuri_1
level3_list | CHC_Kolaras | CHC- Kolaras | Shivpuri_1
level3_list | PHC_Lukwasa | PHC-Lukwasa | Shivpuri_1
level3_list | CHC_Khaniyadhana | CHC- Khaniyadhana | Shivpuri_1
level3_list | PHC_Bamor_kala | PHC-Bamor kala | Shivpuri_1
level3_list | PHC_Mohari | PHC - Mohari | Shivpuri_1
level3_list | SC_Budonrajapur | SHC- Budonrajapur | Shivpuri_1
yes_no | 0 | 0 = Yes
yes_no | 1 | 1 = No
type | PHC | PHC
type | CHC | CHC
type | SDH | SDH
type | DH | DH
type | NRC | NRC
type | Paediatric_Ward | Paediatric_Ward
type | SNCU | SNCU
yes | Yes | Yes
yes | No | No

## settings
id_string | version
whnrc | vZDv2BtK7pncBSnddnGzQZ